## Grand Summary
CONSTRUCTION OF A COLD WATER METER CALIBRATION CENTRE AT THE APPROPRIATE TECHNOLOGY CENTRE
BILL OF QUANTITIES
GRAND SUMMARY
Bill No | Description | Amount
GENERAL ITEMS
G-1 | Contractural & Specified Requirements
G-2 | Method Related Charges
WATER SUPPLY AND EQUIPMENT
CH | Calibration House
RT | Reservoir and siteworks
EM | Electrical - Mechanical Equipment
SIE | Supply and installation of equipment
Sub Total 1
| Allow for 10% Contingency | 0
Sub-Total 2
| ADD: 18% VAT | 0
GRAND TOTAL

## G-1
CONSTRUCTION OF A COLD WATER METER CALIBRATION CENTRE AT THE APPROPRIATE TECHNOLOGY CENTRE
BILL No. WMC-1
DESCRIPTION: GENERAL ITEMS
ITEM NO. | ITEM DESCRIPTION | UNIT | QTY | RATE Ushs | AMOUNT Ushs
Contractual Requirements
A110.1 | Performance security clause | sum | 1 | 15000000 | 15000000
A110.2 | Advance payment guarantee | sum | 1 | 25000000 | 25000000
A120 | Insurance of works covering all installations during and up to 28 days after the end of the defects liability period | sum | 1 | 15000000 | 15000000
A130 | Third party insurance | sum | 1 | 5000000 | 5000000
A140 | Insurance of Contractors Equipment | sum | 1 | 5000000 | 5000000
Specified Requirements
Site Offices and Housing
A211.1 | Establishment and removal of offices for the Engineer's staff | sum | 1 | 15000000 | 15000000
A211.2 | Provision of rented office accommodation for the Engineer's staff | month | 12 | 1000000 | 12000000
A211.4 | Maintenance of offices for the Engineer's staff including provision and payment of utility services | month | 12 | 6000000 | 72000000
Maintenance of Transport Vehicles
A221.1 | Provide rented vehicle acceptable to the client for the supervising Engineer for use during construction and defects liability period. | P.Sum | 1 | 150000000 | 150000000
A221.2 | Monthly maintenance of transport vehicles as will be detailed by the Contractor Manager | nr | 12 | 3000000 | 36000000
Services for the Engineer's staff
Communication
A222.1 | Establish communication system and dedicated leased line system for the Engineer's office | sum | 12 | 1000000 | 12000000
| Total Carried to Collection |  |  |  | 362000000
Equipment for use by the Engineer's staff
A231.1 | Provision of office furniture & equipment for the Engineer | sum | 1 | 5000000 | 5000000
A232 | Maintenance of office furniture & equipment for the Engineer | month | 12 | 300000 | 3600000
Testing works
Testing of Materials
A250 | Concrete works test cubes | nr | 30
Testing works
A260.2 | Water tightedness tests for structures and reservoirs | sum | 1
Temporary Works
A279.1 | Establishment & removal of site sign-boards | nr | 2 |  | 0
A279.2 | Maintenance of site sign-boards until the issue of the Taking-over Certificate | month | 12 |  | 0
| Carried to Collection |  |  |  | 8600000
COLLECTION
| Collection, Page 1 |  |  |  | 362000000
| Collection, Page 2 |  |  |  | 8600000
CARRIED TO GRAND SUMMARY

## G-2
CONSTRUCTION OF A COLD WATER METER CALIBRATION CENTRE AT THE APPROPRIATE TECHNOLOGY CENTRE
BILL No. WMC-2
DESCRIPTION: METHOD RELATED CHARGES
ITEM NO. | ITEM DESCRIPTION | UNIT | QTY | RATE Ushs | AMOUNT Ushs
METHOD RELATED CHARGES
Method Related Charges
311 | Contractor`s site offices including erecting and dismantling | Item | 1 |  | 0
314 | The Contractor shall provide and maintain any temporary storage shed or buildings necessary for execution of the works. | Item | 1 |  | 0
321 | The Contractor shall provide all electrical lighting and power and/or other type of power required for use on the works | Item | 1 |  | 0
322 | The Contractor shall provide at his cost all water required for use upon the Works, including that required by Sub-contractors whether nominated or otherwise. | Item | 1 |  | 0
325 | Allow for transporting of workmen and tools to and from the site, at such hours and by such routes and distances as may be permitted. | months | 12 |  | 0
A371 | Provisonal sum for Clients administration and supervision expenses | months | 12 | 5500000 | 66000000
A380.1 | Mobilisation on site | sum | 1 |  | 0
A380.2 | Demobilise on completion of the Works | sum | 1 |  | 0
Total Carried to Collection
A380.3 | Production of As-built drawings in AO - 3 No. Hard copies of Colour print and 2 No. DVD copies | P.Sum | 1
A380.4 | Allow for site handover | P. sum | 1 | 5000000 | 5000000
A380.5 | Allow for political and technical commissioning of the completed works | P.sum | 1 | 5000000 | 5000000
A380.6 | Allow for Post construction and defect liability period | months | 12
| Total Carried to Collection |  |  |  | 10000000
COLLECTION
| Collection, Page G-2/1 |  |  |  | 0
10000000
Collection, Page G-2/2
TOTAL CARRIED TO GRAND SUMMARY

## CALIBRATION HOUSE
CONSTRUCTION OF A COLD WATER METER CALIBRATION CENTRE AT THE APPROPRIATE TECHNOLOGY CENTRE
BILL No. CH
DESCRIPTION: METER CALIBRATION HOUSE
ITEM | ITEM DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO. |  |  |  | UShs | UShs
SEMI-DETACHED RESIDENTIAL HOUSE
SUMMARY
1 | Collection, Page 1
Collection, Page 2
Collection, Page 3
Collection, Page 4
Collection, Page 5
Collection, Page 6
Collection, Page 7
Collection, Page 8
TOTAL BILL No.WMC-03 TO GRAND SUMMARY |  |  |  |  | 0
ELEMENT No.1
SUBSTRUCTURE
Note: Substructure includes all the elements below ground level, including the basement
Site Preparation
Excavation and Earthworks
Note: Rates for excavation to include for keeping excavations free from water and planking and strutting to the sides of excavations.
1.01 | Excavate trenches for wall foundations: commencing from reduced levels: not exceeding 1.5m deep. | m3 | 21 |  | 0
Disposal of excavated material
1.02 | Return, fill and ram selected excavated materials around foundations in 150mm layers and compact to 98% MDD | m3 | 9 |  | 0
1.03 | Load, cart, deposit, spread, level surplus excavated material where directed on site | m3 | 12 |  | 0
Hardcore
1.04 | 200mm filling: deposit, spread, level and compact: 25mm selected quarry dust blinding. | m2 | 28 |  | 0
Insitu concrete class 20/20mm aggregate as described
1.05 | Foundation in trenches | m3 | 8 |  | 0
Insitu concrete class 25/20mm: vibrated, reinforced as described
1.06 | 150mm thick ground floor slab tamped to fabric reinforcement | m2 | 28 |  | 0
| Carried forward to collection Page 2 |  |  |  | 0
Mesh fabric reinforcement reference A 142 to BS 4483: weighing 2.22kg per square meter: 200mm laps
1.07 | In surface beds | m2 | 28 |  | 0
Sawn formwork as described to:
1.08 | Vertical edges of surface bed: over 75mm but not exceding 150mm high | m | 22 |  | 0
Solid concrete block walling load bearing (3.5N/mm2 ) to BS 6073 in cement and sand (1:3) mortar as described.
1.09 | 230mm thick walling | m2 | 27 |  | 0
Sundries
1.1 | One layer 1000 gauge polythene sheet damp proof mebrane: Under bed: 300mm laps. | m2 | 28 |  | 0
1.11 | 50mm thick sand blinding | m2 | 28 |  | 0
1.12 | Approved anti termite treatment | m2 | 30 |  | 0
Damp proof course: hessian based bituminous felt: bedded in cement and sand (1:4) mortar: 300mm laps
1.13 | Horizontal: 200mm ditto | m | 25 |  | 0
Plinth wall and splash apron
1.14 | 100mm thick walling to sides of splash apron including the necessary excavation and foundation concrete. | m2 | 7 |  | 0
1.16 | 150mm thick imported Murram filling compacted, rolled and watered | m3 | 9 |  | 0
1.18 | 15mm thick rendering to plinths externally | m2 | 12 |  | 0
| Carried forward to collection Page 3 |  |  |  | 0
ELEMENT No.2 FRAME
Insitu concrete class 25/20mm: vibrated, reinforced, as described
2.01 | Ring beam | m3 | 2 |  | 0
Mild steel rod reinforcement to BS EN 4461 as describrd
2.02 | 8mm Ø bar | kg | 40 |  | 0
High yield tensile steel bar reinforcement to BS 4449 as described including cutting to lengths, bending, hoisting and fixing including all necessary tying wire and spacing blocks
2.03 | 12mm Ø bar | kg | 120 |  | 0
Sawn formwork as described to:
2.04 | Sides and soffites of beams | m2 | 49 |  | 0
ELEMENT No.3 ROOF
Roof construction
Carpentry
The following in roof construction including hoisting and fixing approximately 3.0mm above ground level
Sawn cypress pressure impregnated with preservative:
3.01 | 50 x75mm purlins | m | 69 |  | 0
3.02 | 75x100mm strut & ties | m | 242 |  | 0
3.03 | 50x150mm tie beam | m | 22 |  | 0
3.04 | 75x100 rafters | m | 32 |  | 0
3.09 | 100x150mm wall plate | m | 22 |  | 0
| Carried forward to collection Page 4 |  |  |  | 0
Carpentry work
The following in sawn timber
3.08 | 230x25mm fascia & berge board | m | 25 |  | 0
Anchor bolts
3.1 | 16mm diameter 300mm long anchor bolts and nuts | no | 32 |  | 0
Roof covering
3.11 | Blue pre-painted GCI gauge 26 iron sheets | m2 | 40 |  | 0
3.12 | GCI match ridge capping | m | 9 |  | 0
3.13 | Expanded metal lath over eaves nailed to and including 50 by 100mm framing and battens 15mm thick cement/sand backing and plaster | m2 | 13 |  | 0
Roof Drainage
Rainwater Disposal System
3.14 | Terrain water system or other equal and approved 150mm diameter rainwater gutter fixed fascia board | m | 22 |  | 0
3.15 | 150mm diameter 6mm thick, uPVC rain water downpipe fixed and clipped to walls/columns at 100mm centres with and including brackets | m | 20 |  | 0
3.16 | Extra for bends | no | 4 |  | 0
3.17 | Extra for rainwater shoe | no | 4 |  | 0
3.18 | Ditto for offset bend | no | 4 |  | 0
| Carried forward to collection Page 5 |  |  |  | 0
Painting
3.19 | Prepare and apply three coats of gloss oil paint to wood surfaces over 200mm but not exceeding 300mm girth | m | 22 |  | 0
3.2 | Prepare and apply three coats of waterguard on plastered concrete soffites | m2 | 13 |  | 0
ELEMENT No.4 WALLING
Solid concrete block walling load bearing (3.5N/mm2) to BS 6073 in cement and sand (1:4) moratar as described
4.01 | 345mm thick walling | m2 | 64 |  | 0
4.02 | 115mm thick walling | m2 | 11 |  | 0
ELEMENT No.5 WINDOWS
Concrete Work
Precast concrete Grade '30' units reinforced as necessary and finished fair face on all exposed sides
5.01 | 75x285 mm sunk weathered and throated window cill | m | 5 |  | 0
Window specification:
Purpose made steel casement windows manufactured from standard window casement sections: manufacture, assemble and deliver to site: supply and fix ironmongery comprising approved hinges, pivoting mechanisms, stays, fasteners to opening lights: provide permanent vents: Frames drilled, plugged and screwed or built into walling: one coat red oxide primer before delivery:
| Carried forward to collection Page 6 |  |  |  | 0
| Window Size 1511x654mm overall height: 2No. Side hung opening panes : 1No. Central fixed panes ; 300mm deep P.v above with mosquito wire mesh | no. | 4 |  | 0
Burglar proofing grille comprising 16mm sq bars 150mm centres both ways in cobweb pattern or other equal and approved pattern welded to 50*50*6mm angle the whole having one coat of zinc chromate primer to fit the following window sizes
5.05 | Window size 1511x654mm | no | 2 |  | 0
Glass and Glazing
5.04 | 6mm thick clear sheet glass to metal with putty | m2 | 5 |  | 0
Painting
5.05 | Prepare touch up primer and apply one undercoat and two finishing coats of gloss oil paint: on glazed metal windows internally and externally. | m2 | 20 |  | 0
ELEMENT No.6: DOORS
Steel casement Doors
Purpose made Door Standard Steel Section for glazing with putty, permanent ventilation comprising T-bar hood, standard transomes and mullions, 300mm high vents at the top comprising 3mm thick mild steel sheet cranked louvers, 120mm wide bent to shape and welded to door frame including one coat red oxide etching primer : ALL iron mongery and accessories as per Architect's detailed drawings
6.15 | Double Door D1 overall size 875 x 2065mm high to Door schedule. | no. | 4 |  | 0
| Carried forward to collection Page 7 |  |  |  | 0
ELEMENT No. 7 FINISHES
EXTERNAL & INTERNAL FINISHES
Floor Finishes
Cement and Sand (1:3) screeds and pavings: one coat: steel trowell finish: laid on concrete
7.01 | 25mm thick paving | m2 | 28 |  | 0
7.02 | 25x150mm skirting with square top edge and coved junction at bottom of paving | m | 30 |  | 0
Wall Finishes
Rendering & Plastering: steel trowell finish
7.03 | 18mm thick to walls | m2 | 91 |  | 0
Painting
7.04 | Prepare and apply one undercoat and two finishing coats of silk vinyl paint to plastered surfaces. | m2 | 91 |  | 0
Ceiling Finishes
Sawn softwood presure impregnated
7.05 | 50x50mm brandering | m | 50 |  | 0
7.06 | 50x100mm joists | m | 53 |  | 0
7.07 | Expanded metal lath over ceiling nailed to joists ans brandering framing (ms) ; Chicken wire mesh & 15mm thick cement/sand backing | m2 | 28 |  | 0
7.08 | Cornice | m | 22 |  | 0
Painting
Prepare and apply three coats of first grade emulsion paint on:
7.09 | Ceiling | m2 | 28 |  | 0
7.1 | Cornice | m | 22 | 32000 | 704000
| Carried forward to collection Page 8 |  |  |  | 704000
ELEMENT No.8
Electrical Installation
All builders work required for installation shall be provided for in the prices whether or not specifically measured or described below. Such include all chases, mortices, holes, notches, cutting, plugging making good finishes, painting or repainting etc. for a concealed circuit installation.
9.01 | Allow Provisional sum of UGX 10,000,000 (Five million uganda shillings ) for the electrical supply and installation complete to the Engineer`s approval | P. sum | 1 | 10000000 | 10000000
9.02 | Lighting protection
| The rate should provide for and not limited to earthing, protector and terminals |  | Item | 6000000 | 6000000
Carried forward to collection Page 9

## W-3 RESERVIOR TANKS-50CUM
CONSTRUCTION OF A COLD WATER METER CALIBRATION CENTRE AT THE APPROPRIATE TECHNOLOGY CENTRE
BILL No. RT
DESCRIPTION: STORAGE TANK (50 CUM)
ITEM NO. | ITEM DESCRIPTION | UNIT | QTY | RATE Ushs | AMOUNT Ushs
STORAGE TANK 50 CUM
SUMMARY
Collection, Page 2
Collection, Page 3
Collection, Page 4
Collection, Page 5
Collection, Page 6
TOTAL BILL No.WMC-03 TO GRAND SUMMARY |  |  |  |  | 0
DEMOLITION AND SITE CLEARANCE
General Site Clearance
D100 | General site clearance for works | ha | 0.044643 |  | 0
EARTHWORKS
E4 | General Excavation
E411 | Top soil- Maximum depth not exceeding 0.25 m | m3 | 45.5 |  | 0
E425 | Material other than top soil,rock, or artificial hard material. Maximum depth 2-5m | m3 | 546 |  | 0
E435 | Rock . Maximum depth 2-5m | m3 | 14 |  | 0
Excavation Ancillaries
Preparation
Preparation of excavated surfaces in the following materials
E522 | Material other than topsoil, rock or artificial hard material inclined at an angle not exceeding 45 degrees to the horizontal | m² | 182 |  | 0
E523 | Rock surfaces inclined at an angle not exceeding 45 degrees to the horizontal | m² | 27 |  | 0
Disposal of Excavated Material
Disposal of excavated material to water front fill sites as shown in the site layout and as specified and as directed by the Engineer
E531 | Soil | m³ | 591.5 |  | 0
| Total Carried to Collection |  |  |  | 0
Filling
Filling to structures by methods specified and to depths as shown in the drawings with the following materials
E 647 | 150mm thick bed of approved imported hardcore well spread, levelled, rammed and consolidated on stabilized ground to the Engineer's satisfaction | m3 | 27.3 |  | 0
IN-SITU CONCRETE
Provision of Concrete
Ordinary Designed Mix Concrete
Grade C15
Designed mix,grade C15 concrete, to BS EN 206-1, with ordinary portland cement , aggregate to BS EN 12620 , for the following aggregate sizes
F231 | 75 mm thickness | m³ | 13.65 | 450000 | 6142500
Grade C30
Designed mix,grade C30 concrete, to BS EN 206-1, with ordinary portland cement , aggregate to BS EN 12620 , for the following aggregate sizes
F272 | 350 mm thickness | m³ | 15.5 |  | 0
Placing Mass Concrete
Blinding
Placing blinding concrete, grade C15, of the following thickness
F611 | 75 mm thickness | m³ | 13.65 |  | 0
Total Carried to Collection
Placing Reinforced Concrete
Bases & Footing
Placing reinforced concrete, grade C30, for base slab of the following thickness
F722 | Thickness 350 mm | m³ | 15.5 |  | 0
CLASS G: CONCRETE ANCILLARIES
G2 | Formwork: fair finish to concrete walls
G242 | Plane Vertical width: 0.1-0.2m | m2 | 370 |  | 0
G5 | Reinforcement
High Yield Steel
High yield ribbed bars to BS 4449 and of the following sizes
Nominal size,
G512 | 8 -16mm | t | 2.1 |  | 0
G56 | Steel fabric : A142 BRC
G562 | Nominal mass: 2-3 kg/m2 | m2 | 182 |  | 0
Concrete Accessories
Finishing of Top Surfaces
Finishing of surfaces by the following methods
G812 | With steel float finish | m² | 300 |  | 0
Steel Pipes
Steel pipes, include sockets/ spigots, to PN 16
I422.1 | DN 80 | m | 20 |  | 0
I422.2 | DN 100 | m | 20 |  | 0
| Total Carried to Collection |  |  |  | 0
PIPEWORK-FITTINGS AND VALVES
Steel Pipe Fittings
Flanged bends, to PN16 and of the following sizes
J312.1 | 100/80 mm PN16 | nr | 6 |  | 0
J312.2 | 100/100 mm PN16 | nr | 4 |  | 0
J312.3 | 80/80 mm PN16 | nr | 2 |  | 0
Gate Valve: Hand Operated
All flanged gate valve installation to BS EN 12334, all to PN 16-25 complete inclusive of all fittings, as shown in the drawing for the following sizes
J891.1 | DN 100mm PN16 | No | 2 |  | 0
J891.2 | DN 80mm PN16 | No | 1 |  | 0
J891.3 | DN 50mm PN16 | No | 1 |  | 0
Washouts
Washout as specified in the drawings, complete with tee, adaptors, drainage pipes, gate valve, flap valve, thrust blocks, and all other fittings necessary to make the complete installation on pipes of the following sizes; all to PN16
J90.1 | 100mm ND | nr | 1 |  | 0
PIPEWORK - MANHOLES AND PIPEWORK ANCILLARIES
Other Chambers
In-situ Concrete Chambers
Concrete washout outfall structure, complete, as specified in drawings, and of the following depths
K231.1 | Depth not exceeding 1.5m | nr | 2 |  | 0
| Total Carried to Collection |  |  |  | 0
Concrete Gate valve chamber, complete as specified in the drawings, and of the following depths
K231.2 | Depth not exceeding 1.5m | nr | 2 |  | 0
MISCELLANEOUS METAL WORK
Supply and Install cold pressed galvanised steel sectional tank in 1.22M X1.22M x 6mm thick panels with external flanges and pitched cover with 1No. 1m wide access man way, ball float valve, bellmouth overflow fitted to a vertical standpipe, strainer, water level indicator (scale in cubic metres) and plates with inlet, outlet, washout and overflow connection complete with internal pipe work and fittings, access points, ventilators (4 nr), walkway, handrailing, and internal and external access ladders complete as detailed in the drawings and supply specifications
N88 | Reservoir: 50cum nominal capacity on ground concrete base | nr | 1 |  | 0
Total Carried to Collection

## ME-1 ELECTRO-MECHANICAL
CONSTRUCTION OF A COLD WATER METER CALIBRATION CENTRE AT THE APPROPRIATE TECHNOLOGY CENTRE
BILL No. EM
DESCRIPTION: ELECTRICAL MECHANICAL WORKS
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
|  |  |  | USHS | USHS
ELECTRICAL MECHANICAL WORKS
SUMMARY
Collection, Page 2
Collection, Page 3
Collection, Page 4
TOTAL BILL No.WMC-03 TO GRAND SUMMARY |  |  |  |  | 0
1 | 3-PHASE POWER SUPPLY AND DISTRIBUTION BOARD
RATE TO INCLUDE FOR THE DESIGN, WIRING
DIAGRAMS AND GENERAL ITEMS
1.1 | Net amount for design, drawings and wiring diagrams. | Sum | -
1.2 | Net amount for operating and maintenance manuals
| and “as built” drawings as specified | Sum | - |  | 0
Generator Base
F24 | Grade 20
F243 | Designed mix, grade C20concrete, to BS EN 206-1, with ordinary Portland cement , aggregate to BS EN 12620, for the following aggregate sizes
| 20 mm aggregate | m³ | 8 |  | 0
Placing Generator Mass Concrete
Blinding
Placing blinding concrete, for base of screen channel, grade C15, of the following thickness
F511 | Thickness not exceeding 150mm | m³ | 8 |  | 0
CONCRETE ANCILLARIES
Formwork-Fair Finish
Fair Finish Plane Vertical
Plane fair finish horizontal formwork of the following width
G244 | All widths | m² | 18.9 |  | 0
Plane fair finish vertical formwork of the following width
G245 | All widths | m² | 11.3 |  | 0
G56 | Steel fabric : A142 BRC
G562 | Nominal mass: 2-3 kg/m2 | m2 | 29.9 |  | 0
| Total Carried to Collection |  |  |  | 0
PIPEWORK-PIPES
Steel Pipes
Steel pipes, include sockets/ spigots, to PN 16, DN 100 mm, laid in trench to the following depths
I412.1 | Depth not exceeding 1.5m | m | 51 |  | 0
Steel pipes, include sockets/ spigots, to PN 16, DN 80 mm, laid in trench to the following depths
I422.1 | Depth not exceeding 1.5m | m | 35 |  | 0
Gate Valve: Hand Operated
All flanged gate valve installation to BS EN 12334, all to PN 16 complete inclusive of all fittings, as shown in the drawing for the following sizes.
J891.1 | DN 100 mm | nr | 2 |  | 0
MISCELLANEOUS WORK
Fences
X135 | 100x100mm Concrete post of C25 concrete and wire galvanised wire chain link fence of gauge 12 to BS 1722, with triple row of barbed wire on top, anchored into blockwork dwarf wall as per drawings, height 2-2.5 m | m | 154
ACCESS ROADS
0
R124 | Provide and lay concrete pavers from the Centre entrance up to the Water meter testing house | m2 | 184 |  | 0
Rainwater Harvesting Tank
S 120 | Supply and Install 10000 litres plastic rainwater harvesting tank to collect water from the water meter testing house | No. | 2 |  | 0
Storm Water Channel
| Grouted stone pitching (200mm thick) | m2 | 155 |  | 0
Total Carried to Collection
Electrical Installation
All builders work required for installation shall be provided for in the prices whether or not specifically measured or described below. Such include all chases, mortices, holes, notches, cutting, plugging making good finishes, painting or repainting etc. for a concealed circuit installation.
P100 | Allow Provisional sum for the electrical supply and installation complete to the Engineer`s approval | P. sum | 1 | 6000000 | 6000000
EE.1.3 | Diesel Generator - supply and install
EE.1.3.1 | Supply and install a 270 KVA 3-phase RYBNE (5 wire) 50 Hz with sound attenuated canopy Diesel engine Generator to PERKINS manufacture or equal approved. ( The generator specifications are included in the general electrical specifications). including all cabling to changeover switch | nr | 1 | 55000000 | 55000000
TOTAL CARRIED TO GRAND SUMMARY

## SUPPLY AND INSTALLATION
CONSTRUCTION OF A COLD WATER METER CALIBRATION CENTRE AT THE APPROPRIATE TECHNOLOGY CENTRE
BILL No. SIE
DESCRIPTION: SUPPLY AND INSTALLATION OF EQUIPMENT
ITEM NO. | ITEM DESCRIPTION | UNIT | QTY | RATE Ushs | AMOUNT Ushs
METHOD RELATED CHARGES
Method Related Charges
311 | Supply and install WATCAL 1550G(M) Water Meter Calibration System (or equivalent) designed for calibrating the “Accuracy of Measurements” of Water Meters typically in sizes from DN 15 to DN 50 through GRAVIMETRIC Method as per standard OIML – R49 / ISO: 4064 or Equivalent. This Calibration system Manually operated, with Pneumatic clamping system. Air compressor (6 Bar Oil free) will be provided for Pneumatic Clamping. Control Switch for the Clamping Device will be provided near the Clamping Device. | Item | 1 |  | 0
312 | Supply and install WATCAL 50300C (S) Water Meter Calibration System (or equivalent) designed for calibrating the “Accuracy of Measurements” of Bulk Water Meters typically in sizes from DN 50 to DN 300 through COMPARISON METHOD. The Test Bench is Semi-Automatically operated, with PNEUMATIC clamping system. . Air compressor (6 Bar Oil free) will be provided for Pneumatic Clamping. Control Switch for the Clamping Device will be provided near the Clamping Device. | Item | 1 |  | 0
Total Carried to Collection
Installation Costs
313 | Allow for Manual labor support required during Installation to be provided. | Item | 1 |  | 0
314 | Supply and install pressure Measurement devices at both Upstream / Downstream of the test line to measure the Inlet / Outlet Pressure of water | Item | 1 |  | 0
315 | Allow for Crane Facility to Lift & Mount Pumps / Test Bed Etc. to be made available during Installation. | Item | 1 |  | 0
316 | Provide for proper Environmentally controlled Air Conditioned Room for Electronic Console for safe Operation. | Item | 1 |  | 0
317 | Provide for transportation and shipping charges Inclusive of Air Ticket Fares | Item | 1
318 | Allow for technical team Work Visa, Boarding & Lodging and local Transport forinstallation and training team | Item | 1
319 | Provisional sum for extended stay for reasons beyond control charged @ US$ 500 per day per Engineer | Sum | 20
| Provisional Sum for training allowing Engineers to understand the technology and working of the system at point of manufacture. Return flight tickets, boarding & lodging and visa formalities. Also this item will allow for Local conveyance | Item | 1 | 60000000 | 60000000
Total Carried to Collection
COLLECTION
Collection, Page RK G-2/1
Collection, Page RK G-2/2
TOTAL CARRIED TO GRAND SUMMARY