## General Notes
MINISTRY OF WATER AND ENVIRONMENT
WATER FOR PRODUCTION REGIONAL CENTER - CENTRAL
ITEM | DESCRIPTION
PRELIMINARIES AND GENERAL CONDITIONS OF CONTRACT
A | DEFINITION OF PARTIES
The following parties wherever they occur in the Bid and contract
documents shall be interpreted as hereunder:
a) The 'EMPLOYER' shall be held to mean
MINISTRY OF WATER AND ENVIRONMENT
b) The 'EMPLOYER'S REPRESENTATIVES shall be held to mean
1. AS APPOINTED BY THE CLIENT
c) The Engineer shall be "AS APPOINTED BY THE CLIENT."
d) The 'Contractor' shall mean the person or persons, partnership, firm or
company whose bid for this work(the work described in and /or referred to
in these bills of quantities) has been accepted and who has or have signed
the contract and shall include his or their heirs, executors,
administrators, assignees, sucessors and duly appointed
representatives
B | DEFINITION OF TERMS AND ABBREVIATIONS
Terms, phrases and abbreviations shall be deemed to have the following
meanings wherever used hereinafter and in all contract documents
Works' shall mean all or any portion of the works, materials and articles
wherever the same being manufactured or prepared which are to be used in
the execution of this contract and whether the same may be done on site
or not.
As Described' shall mean as described in the General descriptions of
materials and workmanship section of the Billsof Quantities
B.S' shall mean the current British standards Specification published by
the British Standard Instituion, 2 Park Street, London W.I, England
As Before' shall mean in all respects as earlier described in the same or
previous section
Ditto' shall mean the whole of the preceeding description except as
qualified in the description in which it occurs. Where it occurs in
descriptions of succeeding items, it shall mean the same as in the
description of the series in which it occurs except as qualified in the
desription which is contained within the appropriate.
ITEM | DESCRIPTION
DEFINITIONS OF TERMS AND ABBREVIATIONS (CONT'D)
CM' shall mean Cubic Metres
SM' shall mean Square Metres
LM' shall mean Linear Metres
mm' shall mean Millimetres
KGs' shall mean Kilogrammes
ha shall mean hectare
nr.' shall mean Number
Prs' shall mean Pairs
'sum' shall mean the total amount resulting from a system of items
Approved' shall mean as approved by the Engineer
Allow' where this word occurs the cost of the item is at the risk of the
contractor
ITEM' or 'item' wherever the word occurs, other than where a 'provisional sum'
or 'Prime Cost Sum' is mentioned in the dscription of the item, in the quantity
or unit column of the contract documents, the cost of the item shall be at
the sole risk of the Contractor.
The quantity given, if any, in the description of the item is to provide
the basis of bidding only and shall not be the basis of payment to the
contractor. The Contractor shall be paid the lump sum amount only allowed
against the item irrespective of the quantity given in the description of the item
or the quantity actually done by the contractor. However, the contractor
is expected to execute the item as described complete and to the
satisfaction of the Engineer.
Selected' shall mean as selected by the Engineer
C.P' shall mean the current British Standard Code of practice
British Institution, 2 Park Street, London W.I, England
Provisional Sum' shall mean a sum of money included in the contract to
cover the cost of a portion of the works, the extent or nature of which
is undetermined at the time of preparing the Contract documents or
which cannot be accurately determined until that portion of work is
complete.
ITEM | DESCRIPTION
DEFINITIONS OF TERMS AND ABBREVIATIONS (CONT'D)
Provisonal Quantities' shall mean estimated quantities of a portion or
portions of work included in the contract document, which cannot be
accurately measured until that portion or portions of work is complete.
all such quantities are to be used as a guide in tendering only
and payment shall be made for actual work done by the contractor
and measured and valued by the Engineer, using the contract rates
inserted against the provisional quantities in thhe contract document.
Prime Cost Sum' or 'P.C. Sum' shall mean a sum provided for work or
services to be executed by a Nominated Sub-Contractor, a statutory
Authority or a Public undertaking, or for materials or goods to be
obtained from a Nominated supplier. Such sum shall be deemed to
exclusive of any cash discount or profit required by the Main contractor.
All prime cost sums are to be used as directed together with any profit
added by the Main contractor from the contract sum if not required.
C. | BIDDER TO VISIT SITE
The bidder shall visit the site and satisfy himself as to;
1. The nature of the site
2. The amount of bush, sizes of trees, rubbish or debris to be cleared
away before commencement
3. The nature, proximity and size of adjoining property, buildings and
services
4. The nature of existing communications by road
5. The positioning and erection of all temporary structures, plant and storage
space for materials necessary for executing the works
6. The sources of adequate supplies of labour, plant and materials for the
completion of the works
7. The whole of the site will be available to the contractor immediately
upon issue of order to commence
8. The contractor is to satisfy himself as to any difficulties that the site
may present and make all necessary inquiries to any point which in
his opinion requires further elucidation as no claim for lack of
information will be entertained.
D. | LOCATION OF THE SITE
The sites are located in the districts of Masindi and Nakasongola, at coordinates
specified in the Book of Drawings
E. | WORKING AND STORAGE SPACE
The contractor will be restricted to within the boundaries of the sites for all
operations.
ITEM | DESCRIPTION
WORKING AND STORAGE (CONT'D)
The contractor shall obtain the approval of the Engineer for siting of
all temporary buildings, access paths, storage area for materials and spoil
heaps.
F. | VISITORS TO THE SITE
The contractor is required to control all visitors to the site and to keep out
unauthorised visitors and provide a visitors' book and ensure that all
authorised visitors, including Engineers and the Employer's staff sign
therein
G. | PROVISIONAL WORK
All work measured provisionally shall be left uncovered for at least 48 hours to
allow measurements needed to be taken by the engineer or his
representatives. The contractor shall immediately notify the Engineer when
such work is started and completed.
H. | ADJUSTMENT OF PROVISIONAL SUM
In the final account, all provisional sums shall be deducted and the value of
the work properly executed in respect of them upon Engineer's orders shall
be added to the contract sum. Such works shall be valued as described
for variations in clause 40 of the conditions of contract. The contractor
shall under all circumstances execute no work or incur any expense upon
items of work for which provisional sums are stated without written approval
from the Engineer. Where the contractor wishes to do such work, he shall
first submit a quotation for approval by the Engineer.
I. | MEASUREMENT AND DRAWINGS
Some measurements used in preparing bills of quantities have been
physically taken on site. However, some of the measurements have been
taken off drawings which are included in the contract documents.
J. | METHOD OF MEASUREMENT
The bills of quantities have been prepared in accordance with the prinicples
of the Standard Method of Measurement of Building works for East
Africa, Metric Edition published by the Architectural Association of Uganda,
Chapter of Quantity Surveyors
ITEM | DESCRIPTION
K. | PRICING PRELIMINARIES
The contractor shall price out individually and in detail all the items carrying
a monetary value in this and any other section of the Bills of Quantities as
required and under no circumstances will lump sum be allowed unless
otherwise stated to the contrary in the bid documents. Any item not priced
either in the preliminaries Bill or elsewhere in the Bills of Quantities, will
be deemed to have been allowed for in the prices inserted against other
items in the Bills of Quantities
L. | TAXES AND DUTIES
The contractor must allow in his rates for all taxes and duties except VAT.
No claim for reimbursement of any tax not so included shall be entertained.
M. | VALUATION OF LUMP SUM PRELIMINARY COSTS
Lump sums entered in these Bills of Quantities against any item of General
Conditions or Preliminaries will be included in appropriate
valuations according to reasonable assessment of the actual costs
involved in the item. Any balance between this assessment and the
actual sum entered in the Bills of Quantities will be included in
subsequent valuations as monthly installments over the balance of the
contract period.
N. | PAYMENT FOR MATERIALS ON SITE
All materials for incorporation in the works must be stored on or adjacent to
the site before payment is effected, unless specifically exempted by the
Engineer.
O. | PRICED BILLS OF QUANTITIES
All items in these Bills of Quantities must be priced in INK. No
alterations of quantities or descriptions made by the bidder will be allowed.
should the priced Bills of Quantities of the bidder recommended for
acceptance show errors in pricing and/or in arithmetic (after a complete
technical and arithmetical check), the errors shall be corrected and a
corrected bid figure shall be computed. The award of the bid shall be based
on the corrected tender amount.
P. | ORDERING MATERIALS
The contractor will be solely responsible for accurate ordering of materials
in accordance with drawings and Engineer's instructions and no claim will
be entertained for any loss or expense incurred for ordering materials based
upon the bid Bills of Quantities. Samples of materials shall be
furnished by the contractor to the Engineer for approval before
placing orders and the cost of furrnishing the samples shall be bourne
entirely by the contractor.
ITEM | DESCRIPTION
Q. | ENGINEER'S INSPECTION
No work shall be covered up until it is inspected and approved by the
Engineer. The Engineer may at any time up to the end of the Defects Liability
period instruct the contractor to open up, pull down, test or expose any part
of the works inorder to satsify himself as to the quality of the materials
or workmanship used. If in the opinion of the Engineer, such parts are
not in strict accordance with the contract documents he may order
the contractor to remove all defective work, replace with approved
materials and reinstate any such part of the works and any other work
disturbed at his own expense and to the entire satisfaction of the
Engineer. If any such part of the works are found to be in accordance with
the contract documents, the contractor will be reimbursed the net cost of
his expense in this connection.
R. | LAW GOVERNING CONTRACT
This contract shall in all respects be construed and operate in accordance
with the Laws of Uganda.
S. | FORM OF CONTRACT
The contractor will be required to enter into a contract with the Employer by fully
signing the contract form which will be contained in the current Standard Bidding
Document for the Procurement of Works under Open Bidding issued by the Public
Procurement and Disposal of Public Assets Authority of Uganda
Should the contractor not be conversant with this Form, he should contact
the Engineer for Details
T. | CONDITIONS OF CONTRACT
The clause headings of the said conditions of contract are set out hereunder
as particularly ammended or qualified.
if the Contractor considers that compliance with any of the conditions
of contract involve expenses to him which are not included elsewhere in
his prices, he shall set down opposite any such conditions the value he
attaches hereto;
CLAUSES
| A. | GENERAL
| 1 | Definitions
| 2 | Interpretations
| 3 | Language and Law
| 4 | Engineers Decisions
ITEM | DESCRIPTION
CONDITIONS OF CONTRACT (CONT'D)
| 5 | Delegation
| 6 | Communications
| 7 | Subcontracting
| 8 | Other Contractors
| 9 | Personnel
| 10 | Contractors Risks
| 11 | Employer's Risks
| 12 | Insurance
| 13 | Indeminities
| 14 | Site InvestigationReport
| 15 | Queries about the Contract Data
| 16 | Contractor to construct the works
| 17 | Works completed by the Intended Completion Date
| 18 | Approval of the Contractor's Temporary Works
| 19 | Safety
| 20 | Discoveries
| 21 | Possessions of the Site
| 22 | Access to the Site
| 23 | Instructions
| 24 | Disputes
| 25 | Procedure for Disputes
| 26 | Replacement of Adjudicator
| B. | TIME CONTROL
| 27 | Program
| 28 | Extension of the Intended Completion Date
| 29 | Acceleration
| 30 | Delays Ordered by the Engineer
| 31 | Management Meetings
| 32 | Early Warnings
| C. | QUALITY CONTROL
| 33 | Identifying Defects
| 34 | Test
| 35 | Correction of Defects
| 36 | Uncorrected Defects after Completeion Date
| D. | COST CONTROL
| 37 | Bills of Quantities
| 38 | Changes in Quantities
| 39 | Variations
| 40 | Payments for variations
| 41 | Cash flow Certificates
ITEM | DESCRIPTION
CONDITIONS OF CONTRACT (CONT'D)
| 42 | Payment Certificates
| 43 | Payments
| 44 | Compensation Events
| 45 | Fax
| 46 | Currencies
| 47 | Price Adjustments
| 48 | Retention
| 49 | Liquidated Damages
| 50 | Bonus
| 51 | Advance Payment
| 52 | Securities
| 53 | Day-works
| 54 | Cost of Repairs
| E. | FINISHING THE CONTRACT
| 55 | Completion
| 56 | Taking Over
| 57 | Final Acount
| 58 | Operating and Maintenance Manuals
| 59 | Termination
| 60 | Payment upon Termination
| 61 | Property
| 62 | Frustration
U. | EXISTING SERVICES
The contractor shall ascertain from the relevant authorities and by site
investigations, the exact location of existing services including telephone,
electricity, water supply, sewer line and stormwater drainage. He shall make
whatever provison the authority concerned or the Engineer may deem
necessary for the proper protection of such services. Any damage or
disturbance of such services shall be reported to the relevant authority and
to the Engineer and shall be made good to their satisfaction at the
contractor's expense.
V. | MAINTENANCE OF PUBLIC AND PRIVATE ROADS
The contractor is to allow for maintaining all public and private roads in the
vicinity of the site that are used during the execution of the contract and shall
pay for or make good any damages caused thereon.
ITEM | DESCRIPTION
W. | EXISTING PROPERTY
The contractor shall take every precaution to avoid damage to any existing
property including buildings, equipment, furnishings and finishings, roads,
cables, drains and other services in the vicinity and will be held responsible
for all damages arising from the execution of his contract to the
aforementioned and he shall make good all such damage where directed at
his expense to the satisfaction of the Engineer.
X. | SIGN BOARD
The contractor shall make and erect a signboard in accordance with the
details provided by the Engineer to display the name of the Project,
Employer's anme and names of the Engineer. No sub-contractors' names
will be allowed on this board without the approval of the Engineer
Y. | REMOVING RUBBISH AND CLEARING
The contractor must allow for removing and clearing away any surplus
excavated materials, rubbish, unused materials and plant during and at the
completion of the work and shall leave the whole of the site and works
in a clean and tidy state to the satisfaction of the Engineer including
clearing away and making good all traces of temporary access roads, offices
sheds, camps, e.t.c. Particular care shall be taken to leave clean all floors,
windows and doors and to remove all paint and cement stains, clean down
external faces, wash off stains to faced work, flush out plumbing
installations and drain runs. The contractor is to find his own tip/dump
and shall pay all charges in connection therewith.
Z. | APPRENTICESHIP
The contractor must allow for a provisional sum for an apprenticeship
programme whereby a local artisan participates in the construction works
and its this artisan that shall later assist the scheme operator in the operation
and maintenance of the Water supply scheme.
Z-1 | AS-BUILT DRAWINGS AND MAINTENANCE MANUALS
The constractor shall produce detailed As-Built Drawings of all the facilities
executed by him before payement of the last sum of Retention money and the
drawings must be approved by the Engineer
The amount to be withheld for failing to produce "As built" drawings and other
documents by the data requred is 5% of contract price.
The days by which "As built" drawings and maintenance manuals are required
is 28 after completion.
ITEM | DESCRIPTION
AA. | GENERAL MATTERS
The contractor shall make allowance here or in his rates to cover his site
costs and all general overheads. He shall make allowance for use of
or compliance to the preliminary items stated hereunder for proper
execution of the contract;
In addition, maintaining temporary works, adapting, clearing away
and making good shall be deemed to be included with the items.
Also notices and fees to Local Authorities and public undertakings
related to any of these preliminary items shall be deemed to be
included;
Mobilisation to Site including provision and maintenance on site of
equipment and technical personnel required to perform the Contract
a) Plant, tools and vehicles
b) Scaffolding, hoists and working platforms
c) Site administration and security
d) Transport for work people
e) Protecting the works from inclement weather and any other damages
f) Water for the Works
g) Lighting and power for the works
h) Temporary accomodation for use of the contractor, the sub-contractors,
Engineers, Site agent and for site meetings equipped with desks, chairs
drawing boards and electric lighting
I) Traffic regulations
j) Temporary telephone for use of the contractor
k) Safety health and welfare of work-people
l) Avoidance of noise, pollution or public nuisance and maintenance of all
statutory obligations
m) Prevention of tresspass on, distrurbance or nuisance to occupants
of adjoining properties
n) Provision of programme and progress charts
o) Protection hoarding on site with lockable gates as required

## Summary
MINISTRY OF WATER AND ENVIRONMENT
WATER FOR PRODUCTION REGIONAL CENTER-CENTRAL
MSD. CONSTRUCTION OF TUURA VALLEY TANK IN MASINDI DISTRICT
NKSGL. CONSTRUCTION OF NABISOJO VALLEY TANK IN NAKASONGOLA DISTRICT
GRAND SUMMARY
ITEM | BILL NO. | ITEM DESCRIPTION | AMOUNT, UGX |  | SUM
|  |  | MASINDI (MSD) | NAKASONGOLA(NKSGL) | (MSD+NKSGL)
1 | WKS-NO.1 | PRELIMINARIES AND GENERAL ITEMS
2 | WKS-NO.2 | VALLEY TANK WORKS
3 | WKS-NO.3 | LIVESTOCK WATERING TROUGHS
4 | WKS-NO.4 | WATERING AMENITIES
SUB-TOTAL 1
ADD 10% CONTIGENCIES
SUB-TOTAL 2
ADD 18% VAT
TOTAL CARRIED TO TENDER PAGE

## WKS 01-General items
MINISTRY OF WATER AND ENVIRONMENT
WATER FOR PRODUCTION REGIONAL CENTER-CENTRAL
CONSTRUCTION OF TUURA AND NABISOJO VALLEY TANKS IN MASINDI AND NAKASONGOLA DISTRICTS RESPECTIVELY
BILL No. WKS-01: PRELIMINARIES AND GENERAL ITEMS
DESCRIPTION: PRELIMINARIES AND GENERAL ITEMS
ITEM NO. | ITEM DESCRIPTION | UNIT | QTY | Unit rate (ugx) | AMOUNT (UGX)
Contractual Requirements
A1 | Insurance
A1.1 | Allow for provision of insurance in accordance with contract conditions | Sum | 1
A1.2 | Insurance of Contractors Equipment | sum | 1
A2 | Testing works
A2.1 | In-situ density using the sand replacement method done to BS 1377:1975 of the compacted earth bund fill. | nr. | 4
A2.2 | Moisture Content
| Done to Specification in Contract Document | nr. | 4
A2.3 | Permeability
All tests done to BS 5930, 1981.
| Use of constant head permeameter for fine and coarse grained soils | nr. | 4
A2.4 | Compaction
Standard compaction tests by proctor
A2.4.1 | Use of a 2.5kg rammer to BS 1377 | nr. | 3
A2.4.2 | Use of a 4.5kg rammer to BS 1377 | nr. | 3
Temporary Works
A3 | Establishment, maintenance and removal of site sign-boards 2.7m high x 1.8m wide, with panels 6 No. each 0.45m wide in MS plate as per Engineer's specification. | nr | 2
Environmental Protection
| Provide for environmental protection and impacts mitigation | sum | 1 | 10000000 | 10000000
A4 | Provisional Sums
A4.1 | Capacity building and establishment of functional management system | sum | 1 | 8000000 | 8000000
De-watering;
A4.2 | Allow for work in water affected areas, including all temporary works, pumping, protection, access, etc to ensure the works are completed as specified; include removal of facilities. | sum | 1
A4.3 | Provisional Sum for Client and District supervision, site handover and technical commissioning | sum | 1 | 36510000 | 36510000
A4.4 | Handling charges for provisional sums | % | 25 | 36510000 | 9127500
A5 | Method related Charges
A5.1 | Mobilization, transportation of machinery, erection of camps and sanitation facilities and demobilization | sum | 1
A5.2 | Production of As-built drawings | Sum | 1
A5.3 | Supply of a double Cabin Pick up as per attached specifications for supervision of the works | nr | 1
Total for General Items Carried to Summary>>>>>>>>>>>>>>>>

## Bill WKS 02 Valley Tank Wks-MSD
MINISTRY OF WATER AND ENVIRONMENT
WATER FOR PRODUCTION REGIONAL CENTER-CENTRAL
MSD. CONSTRUCTION OF TUURA VALLEY TANK IN MASINDI DISTRICT
BILL 2 WKS - 02: VALLEY TANK WORKS
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (UGX) | AMOUNT (UGX)
GENERAL CLEARANCE
2V1 | Clear Valley Tank basin of all vegetation by stripping off top soil to a depth of 300mm, cart to spoil as shall be directed by the Engineer | ha | 4
Trees
2V2 | Cut and dispose off trees of the following girth; include removal of stump and backfilling the hole left with top soil
2V2.1 | girth 500-1m | nr | 4
2V2.2 | girth 1-2m | nr | 2
2V2.3 | girth 2-3m | nr | 1
Stumps
2V3 | Remove and dispose of stumps of the following diameter; include for grabbing up the roots and backfilling the hole left with top soil
2V3.1 | Diameter 150-500 mm | nr | 4
2V3.2 | Diameter 500 mm-1 m | nr | 2
EXCAVATIONS
2V4 | Excavate to form valley tank in material other than top soil, rock or artificial material, depths not exceeding 5m including forming earth bunds around the valley tank using the excavated material; height not exceeding 1m. | CM | 13000
2V5 | Ditto but to form silt trap; depths not exceeding 2.0m | CM | 300
2V6 | Ditto but to form Inlet and Spillway channels; depths not exceeding 1.5m | CM | 280
2V7 | Excavate rock for possible reuse or disposal away from Tank site. Depth not exceeding 2m | CM | 900
CLAY BLANKET
2V8 | Borrow clay, transport from upto 10km, | CM | 900
2V9 | Place and compact at OMC to 95% MDD. Spec. D a 300mm thick clay layer to the tank base | SM | 1500
2V10 | Construction of inlet channel lined with stone pitching(300mm thick) on the slopes of the channel as per drawings. | SM | 126
VALLEY TANK SITE PROTECTION
2V11 | Filling of 100mm thick vegetable soils and grassing a distance of 20m all round the Valley tank brim including. | SM | 8200
2V12 | Surface Water drains; trapezoidal cross section, lined with 300mm thick building stone, beded and jointed in cement : sand mortar (1:3). | SM | 230
2V13 | Provide 100mm concrete layer C20/25 at the bottom of the overflow/spillway channel | CM | 27
2V14 | Provide and construct steps of 1200mm by 300mm in masonry works across the earth bunds to the valley tank | SM | 20
FENCING SYSTEM
2V15 | Fencing with 2000mm high overall comprising of double strand galvanized barbed wire, gauge 10, secured on well treated wooden poles (must be pressure impregnated with approved wood preservatives) anchored at 3.0 metres centres in 400mm x 400mm x average 500mm deep concrete (grade 20) upstand as given in drawing TVT/FGD/1.1 include all necessary excavations, backfill, formwork and disposal to spoil. | LM | 550
2V16 | Plant hedge of euphobia , 0.5m spacing, double row along the fence | LM | 550
Gates and Stiles
2V17 | Single leaf pedestrain grille gate size 1500mm x 1800mm high overall comprising 25mm x 25mm x 4mm SHS vertical bars at 100mm centres with spear-shaped top, welded to 50mm x 30mm x 4mm SHS top, intermediate and bottom rails welded in turn to 50mm x 50mm x 4mm SHS vertical frames complete with heavy duty hinges cast in concrete and including all necessary locking accessories as given in Drawing TVT/FGD/1.1 | nr | 1
2V18 | Prepare, prime and apply three coats of gloss enamel paint on general surfaces of steel grille gates(measured both sides over voids) | SM | 84
Total for Bill WKS 2 to Summary>>>>>>>>>>>>>>>>

## Bill Wks 03 Troughs-MSD
MINISTRY OF WATER AND ENVIRONMENT
WATER FOR PRODUCTION REGIONAL CENTER-CENTRAL
MSD. CONSTRUCTION OF TUURA VALLEY TANK IN MASINDI DISTRICT
BILL 3 WKS - 03: LIVESTOCK WATERING TROUGHS
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (UGX) | AMOUNT (UGX)
Construction of 2 No. Troughs for big animals and 1 No. Trough for small animals
Construction of 1 No. Trough
EXCAVATION
3T1 | Top soil . Including reusing excavated material for site regrassing. | Ha | 0.02
3T2 | Excavation in ordinary soil including disposal away from site and/ or as shall be directed by the Engineer; | CM | 10
3T3 | Depth not exceeding 0.25m - 0.5m | CM | 6.5
BASE SLAB (PLATFORM)
3T4 | 200mm thick approved hardcore well compacted bed. | SM | 12
3T5 | 50mm thick sand blinding to hardcore. | SM | 5
REINFORCED CONCRETE
3T6 | Vibrated reinforced concrete, class C25 of the following thickness
3T6.1 | Base slab thickness not exceeding 150mm | CM | 6
3T6.2 | Ramp slab thinckness not exceeding 150mm | CM | 2
3T6.3 | Trough base not exceeding 50mm and Walls of thickness not exceeding 100mm | CM | 1
REINFORCEMENT
3T7 | High tensile ribbed bar reinforcement to BS4461 including cutting, bending, tying and placing
3T7.1 | BRC (Wire mesh) of size A142 | SM | 64
3T7.2 | ditto 10 mm diameter | kg | 550
3T7.3 | ditto 12 mm diameter | kg | 147
CONCRETE ANCILLARIES
Form work; fair finish
Plane and Vertical formwork for trough base slab
3T8 | Height 0.5m | SM | 30
Plane and sloping formwork for trough walls
3T9 | Height 1.0m | SM | 20
Sub-total 1 carried to Collection
PIPEWORK
Trench excavation and pipe installation
Plastic Pressure Pipes
(All pipes and fittings flanged and adapted as required including relevant bolts, nuts and washers or other specified interconnections)
Excavate pipe trenches depth not exceeding in ordinary soil, lay, join and backfill pipeline of the following sizes
3T10 | OD 40 mm HDPE, PN 6 | LM | 50
GI Pipes
3T11 | Supply and fix DN40mm threaded GI inlet pipe; length n.e 1.5m | nr | 2
Fittings and Valves
3T12 | Supply and install fittings for the pipework to PN 10 of the following sizes
3T12.1 | DN 40mm GI bend | nr | 3
3T12.2 | 1/2" Stop cork | nr | 1
3T12.3 | Float valve, diameter DN40mm complete with all fixing accessories | nr | 1
3T12.4 | Control valve, DN40mm | nr | 1
3T12.5 | Gate valve, diameter DN40mm | nr | 1
3T12.6 | DN 40mm GI socket | nr | 1
3T12.7 | 50x40 HDPE Tee | nr | 1
PIPEWORK-MANHOLES AND PIPEWORK ANCILLARIES
Washout valve chambers complete as specified in drawings.
3T13 | Depth not exceeding 1.5m | nr | 1
Sub-total 2 carried to Collection
Collection
Sub-total 1
Sub-total 2
Sub-total for 1 No. Cattle/Goat Trough
| Sub-total for 3 No. Cattle/Goat Troughs carried to Total for Bill WKS 3 |  |  | 3
Total for Bill WKS 3 to Summary>>>>>>>>>>>>>>>>

## BILL WKS 04 Amenities- MSD
MINISTRY OF WATER AND ENVIRONMENT
WATER FOR PRODUCTION REGIONAL CENTER-CENTRAL
MSD. CONSTRUCTION OF TUURA VALLEY TANK IN MASINDI DISTRICT
BILL 5 WKS - 05: WATERING AMENITIES
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (UGX) | AMOUNT (UGX)
CONSTRUCTION OF CONCRETE TANK TOWER
3A1 | Excavate foundation trench not exceeding 2m deep starting from the stripped level wheel, deposit, spread, level and compact adequately as per the engineer's instructions. | CM | 6
3A2 | Insecticide treatment as described; ‘TERMIDOR’ or other equal and approved on blinded hardcore and bottom of foundations to manufacturers specification: provide 10 years written performance guarantee certificate to approval. | sum | 1
CONCRETE WORKS
(ALL PROVISIONAL)
Mass concrete 15/20 to BS 8110 as described in:
3A3 | 50mm thick blinding under foundation strip footing | SM | 1.5
3A4 | Vibrated reinforced Class 25/20 concrete (1:2:4) to BS 8110 as described in:
3A4.1 | Ground beam (as per the drawings) | CM | 2.5
3A4.2 | Pad footings (as per the drawings) | CM | 3.7
3A4.3 | Columns (as per the drawings) | CM | 2.5
3A4.4 | Slab beam (as per the drawings) | CM | 0.8
3A4.5 | Tank slab (as per the drawings) | CM | 3
CONCRETE ANCILLARIES
3A5 | Sawn timber formwork for fair finish to:
3A5.1 | Fix all formwork for the tank tower as per the engineer's instructions | SM | 280
3A6 | High tensile ribbed bar reinforcement to BS4461 including cutting, bending, tying and placing
3A6.1 | BRC (Wire mesh) of size A142 | SM | 12.5
3A6.2 | 8 mm diameter | kg | 104
3A6.3 | ditto 12 mm diameter | kg | 366
3A6.4 | ditto 16 mm diameter | kg | 290
PIPE WORK
3A8 | Excavate trench of depth 850mm to the approval of the Engineer. Trench to be backfilled after pipe laying | LM | 100
3A9 | Supply and lay HDPE pipes to BS 5114 or its equivalent in excavated trench and backfill
3A9.1 | OD 50mm HDPE PN 10 | LM | 50
3A9.2 | OD 40mm HDPE PN 6 | LM | 50
3A10 | Galvanised steel tube to B.S.1387 in trench depth not exceeding depth not exceeding 1.5m.
3A10.1 | 50 mm GI pipe; not in trench | nr | 3
3A11 | Pipe fittings
3A11.1 | 1.5" Ball float valve | nr | 2
3A11.2 | 1.5" Brass Gate Valves | nr | 4
3A11.3 | 1.5'' GI Elbow | nr | 2
3A11.4 | 1.5" GI tank coupler | nr | 8
3A11.5 | 1.5'' GI Nipple | nr | 2
3A11.6 | OD 50mm PN10 Water Meter | nr | 1
3A11.7 | 50 mm Long screws | nr | 2
3A11.8 | 40 mm stainless Steel Strainer | nr | 1
3A11.9 | 50mm x 1.5" HDPE Female elbow | nr | 2
3A11.10 | OD 40mm GI Bulk water meter | nr | 1
3A11.11 | Yarn | nr | 2
3A11.12 | Boss white | nr | 2
3A11.13 | 40mmX11/4" Female Adaptors | nr | 2
Plastic tank reservoir
3A12 | Supply and install plastic tank of the following capacity as instructed by the engineer
3A12.1 | 10,000 litres; vertical cylindrical tank | nr | 2
PIPE WORK MANHOLES AND PIPEWORK ANCILLIARIES
Insitu Concrete Manhole
3A13 | Concrete washout outfall structure complete as specified in drawings and the following depths
3A13.1 | Depth not exceeding 1.5 m | nr | 1
CONSTRUCTION OF PUMP HOUSE
3A14 | Construct and complete pump house in accordance to the drawings and specifications and Engineer's instructions. Apply anti-termite treatment to all foundations, all round the structure | LS | 1
SOLAR ABSTRACTION SYSTEM INSTALLATION WORKS
3A15 | Supply and install surface solar water pump with the pump characteristics; Q= 40m3/day, H=40m, complete with dry running protection | nr | 1
3A16 | 300Wp Crystalline Solar Panels, optimum voltage 34-38V, current 8-9 Amps | nr | 8
3A17 | AC pump controller to run the above pump | nr | 1
3A18 | Surge Protector | nr | 1
3A19 | Well probe sensor | nr | 1
3A20 | PV disconnect | nr | 1
3A21 | DROP CABLE 4mm2×4CORE,FLAT CABLE | LM | 40
3A22 | CABLE TERMINATION KIT | nr | 1
3A23 | SOLAR PANEL MOUNTING GALVANISED STRUCTURE C/W Metallic structures and civil platforms, about 1.0m off the ground for a 320Wp panel | sum | 8
3A24 | 0.75mm2 Electrode cable | LM | 40
3A25 | Electrodes( pair) | nr | 1
3A26 | Electrical accessories for installation: cable tray Trunking about 5m, 6mm2 Underground (U/G) cable 40m includes all electricals for generator installations | sum | 1
3A27 | Earthing system (25mm2 earth wire, copper mat, copper clamp, concrete earth pit & conductivity improvement materials) | sum | 1
3A28 | Lightning Protection:(Arrestor, copper tape, copper mat, copper clamp, copper bolt & conductivity improvement materials) | sum | 1
3A29 | Auxilliary Lighting system with 75Wp,panel, 5Amp Regulator, 55AH Battery, 3LED Lights, Battery Box, Panel mount frame, light fixtures and cabling and accessories | sum | 1
3A30 | Plumbing works inside and outside the pump house;
3A31.1 | 1.5” GI Pipe | nr | 4
3A31.2 | Fittings (4no. 1.5”GI bends, 4 no. 1.5”GI nipples, 4no. 1.5''GI Tees, 1 No. 1.5” water meter (dry type), 3 No. 1.5” HDPE adapters, 1no. 1.5” Air valve, 3no. 1.5”GI unions, 2 no. 1.5''Global valve, 1 no.1/2” pressure gauge, 1 no. pressure sensor complete with switch. | sum | 1
3A32 | DN 250 ST/DI Double flanged pipe casing with reinforced concrete base to anchor the submersible pump as per the drawing attached. | nr | 1
3A33 | Supply and install 2No. sensors to allow for automatic switching on and off of the solar pump. | sum | 1
3A34 | Provide and lay machine crushed stone aggregate of size 25mm for a layer of thickness 50mm placed on top of gauge 1000dpm within the area covered by solar array. | SM | 32
3A35 | Provide 3KVA gasoline generator and its accessories as approved by the engineer | nr | 1
CONSTRUCTION OF VIP LATRINE
3A36 | Construct a 2 stance improve pit latrine complete as given in the drawing and to the engineer's instructions; include all earthworks, brick works, concrete works, plumbing, drains e.t.c As detailed. | sum | 1
Total for Bill WKS 4 Carried to Summary>>>>>>>>>>>>>>>>

## Bill WKS 02 Valley Tank-NKSGL
MINISTRY OF WATER AND ENVIRONMENT
WATER FOR PRODUCTION REGIONAL CENTER-CENTRAL
MSD. CONSTRUCTION OF TUURA VALLEY TANK IN MASINDI DISTRICT
BILL 2 WKS - 02: VALLEY TANK WORKS
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (UGX) | AMOUNT (UGX)
GENERAL CLEARANCE
2NV1 | Clear Valley Tank basin of all vegetation by stripping off top soil to a depth of 300mm, cart to spoil as shall be directed by the Engineer | ha | 4
Trees
2NV2 | Cut and dispose off trees of the following girth; include removal of stump and backfilling the hole left with top soil
2NV2.1 | girth 500-1m | nr | 5
2NV2.2 | girth 1-2m | nr | 2
2NV2.3 | girth 2-3m | nr | 1
Stumps
2NV3 | Remove and dispose of stumps of the following diameter; include for grabbing up the roots and backfilling the hole left with top soil
2NV3.1 | Diameter 150-500 mm | nr | 5
2NV3.2 | Diameter 500 mm-1 m | nr | 2
EXCAVATIONS
2NV4 | Excavate to form valley tank in material other than top soil, rock or artificial material, depths not exceeding 5m including forming earth bunds around the valley tank using the excavated material; height not exceeding 1m. | CM | 13000
2NV5 | Ditto but to form silt trap; depths not exceeding 2.0m | CM | 300
2NV6 | Ditto but to form Inlet and Spillway channels; depths not exceeding 1.5m | CM | 280
2NV7 | Excavate rock for possible reuse or disposal away from Tank site. Depth not exceeding 2m | CM | 900
CLAY BLANKET
2NV8 | Borrow clay, transport from upto 10km, | CM | 900
2NV9 | Place and compact at OMC to 95% MDD. Spec. D a 300mm thick clay layer to the tank base | SM | 1600
2NV10 | Construction of inlet channel lined with stone pitching(300mm thick) on the slopes of the channel as per drawings. | SM | 126
VALLEY TANK SITE PROTECTION
2NV11 | Filling of 100mm thick vegetable soils and grassing a distance of 20m all round the Valley tank brim including. | SM | 8200
2NV12 | Surface Water drains; trapezoidal cross section, lined with 300mm thick building stone, beded and jointed in cement : sand mortar (1:3). | SM | 230
2NV13 | Provide 100mm concrete layer C20/25 at the bottom of the overflow/spillway channel | CM | 25
2NV14 | Provide and construct steps of 1200mm by 300mm in masonry works across the earth bunds to the valley tank | SM | 20
FENCING SYSTEM
2NV15 | Fencing with 2000mm high overall comprising of double strand galvanized barbed wire, gauge 10, secured on well treated wooden poles (must be pressure impregnated with approved wood preservatives) anchored at 3.0 metres centres in 400mm x 400mm x average 500mm deep concrete (grade 20) upstand as given in drawing TVT/FGD/1.1 include all necessary excavations, backfill, formwork and disposal to spoil. | LM | 550
2NV16 | Plant hedge of euphobia , 0.5m spacing, double row along the fence | LM | 550
Gates and Stiles
2NV17 | Single leaf pedestrain grille gate size 1500mm x 1800mm high overall comprising 25mm x 25mm x 4mm SHS vertical bars at 100mm centres with spear-shaped top, welded to 50mm x 30mm x 4mm SHS top, intermediate and bottom rails welded in turn to 50mm x 50mm x 4mm SHS vertical frames complete with heavy duty hinges cast in concrete and including all necessary locking accessories as given in Drawing TVT/FGD/1.1 | nr | 1
2NV18 | Prepare, prime and apply three coats of gloss enamel paint on general surfaces of steel grille gates(measured both sides over voids) | SM | 84
Total for Bill WKS 2 to Summary>>>>>>>>>>>>>>>>

## Bill Wks 03 Troughs-NKSGL
MINISTRY OF WATER AND ENVIRONMENT
WATER FOR PRODUCTION REGIONAL CENTER-CENTRAL
MSD. CONSTRUCTION OF TUURA VALLEY TANK IN MASINDI DISTRICT
BILL 3 WKS - 03: LIVESTOCK WATERING TROUGHS
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (UGX) | AMOUNT (UGX)
Construction of 2 No. Troughs for big animals and 1 No. Trough for small animals
Construction of 1 No. Trough
EXCAVATION
3NT1 | Top soil . Including reusing excavated material for site regrassing. | Ha | 0.02
3NT2 | Excavation in ordinary soil including disposal away from site and/ or as shall be directed by the Engineer; | CM | 10
3NT3 | Depth not exceeding 0.25m - 0.5m | CM | 6.5
BASE SLAB (PLATFORM)
3NT4 | 200mm thick approved hardcore well compacted bed. | SM | 12
3NT5 | 50mm thick sand blinding to hardcore. | SM | 5
REINFORCED CONCRETE
3NT6 | Vibrated reinforced concrete, class C25 of the following thickness
3NT6.1 | Base slab thickness not exceeding 150mm | CM | 6
3NT6.2 | Ramp slab thinckness not exceeding 150mm | CM | 2
3NT6.3 | Trough base not exceeding 50mm and Walls of thickness not exceeding 100mm | CM | 1
Reinforcement
3NT7 | High tensile ribbed bar reinforcement to BS4461 including cutting, bending, tying and placing
3NT7.1 | BRC (Wire mesh) of size A142 | SM | 64
3NT7.2 | ditto 10 mm diameter | kg | 550
3NT7.3 | ditto 12 mm diameter | kg | 147
CONCRETE ANCILLARIES
Form work; fair finish
Plane and Vertical formwork for trough base slab
3NT8 | Height 0.5m | SM | 30
Plane and sloping formwork for trough walls
3NT9 | Height 1.0m | SM | 20
Sub-total 1 carried to Collection
PIPEWORK
Trench excavation and pipe installation
Plastic Pressure Pipes
(All pipes and fittings flanged and adapted as required including relevant bolts, nuts and washers or other specified interconnections)
Excavate pipe trenches depth not exceeding in ordinary soil, lay, join and backfill pipeline of the following sizes
3NT10 | OD 40 mm HDPE, PN 6 | LM | 50
GI Pipes
3NT11 | Supply and fix DN25mm threaded GI inlet pipe; length n.e 1.5m | nr | 2
Fitting and Valves
3NT12 | Supply and install fittings for the pipework to PN 10 of the following sizes
3NT12.1 | DN 40mm GI bend | nr | 3
3NT12.2 | 1/2" Stop cork | nr | 1
3NT12.3 | Float valve, diameter DN40mm complete with all fixing accessories | nr | 1
3NT12.4 | Control valve, DN40mm | nr | 1
3NT12.5 | Gate valve, diameter DN40mm | nr | 1
3NT12.6 | DN 40mm GI socket | nr | 1
3NT12.7 | 50x40 HDPE Tee | nr | 1
PIPEWORK-MANHOLES AND PIPEWORK ANCILLARIES
Washout valve chambers complete as specified in drawings.
3NT13 | Depth not exceeding 1.5m | nr | 1
Sub-total 2 carried to Collection
Collection
Sub-total 1
Sub-total 2
Sub-total for 1 No. Cattle/Goat Trough
| Sub-total for 3 No. Cattle/Goat Troughs carried to Total for Bill WKS 3 |  |  | 3
Total for Bill WKS 3 to Summary>>>>>>>>>>>>>>>>

## BILL WKS 04 Amenities-NKSGL
MINISTRY OF WATER AND ENVIRONMENT
WATER FOR PRODUCTION REGIONAL CENTER-CENTRAL
MSD. CONSTRUCTION OF TUURA VALLEY TANK IN MASINDI DISTRICT
BILL 5 WKS - 05: WATERING AMENITIES
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (UGX) | AMOUNT (UGX)
CONSTRUCTION OF STEEL TOWER
3NA1 | Excavate foundation trench not exceeding 2m deep starting from the stripped level wheel, deposit, spread, level and compact adequately as per the engineer's instructions. | CM | 6
3NA2 | Insecticide treatment as described; ‘TERMIDOR’ or other equal and approved on blinded hardcore and bottom of foundations to manufacturers specification: provide 10 years written performance guarantee certificate to approval. | sum | 1
CONCRETE WORKS
(ALL PROVISIONAL)
Mass concrete 15/20 to BS 8110 as described in:
3NA3 | 50mm thick blinding under foundation strip footing | SM | 1.5
3NA4 | Vibrated reinforced Class 25/20 concrete (1:2:4) to BS 8110 as described in:
3NA4.1 | Ground beam (as per the drawings) | CM | 2.5
3NA4.2 | Pad footings (as per the drawings) | CM | 3.7
3NA4.3 | Columns (as per the drawings) | CM | 2.5
3NA4.4 | Slab beam (as per the drawings) | CM | 0.8
3NA4.5 | Tank slab (as per the drawings) | CM | 3
CONCRETE ANCILLARIES
Sawn timber formwork for fair finish to:
3NA6 | Fix all formwork for the tank tower as per the engineer's instructions | SM | 280
3NA7 | High tensile ribbed bar reinforcement to BS4461 including cutting, bending, tying and placing
3NA7.1 | BRC (Wire mesh) of size A142 | SM | 12.5
3NA7.2 | 8 mm diameter | kg | 104
3NA7.3 | ditto 12 mm diameter | kg | 366
3NA7.4 | ditto 16 mm diameter | kg | 290
PIPE WORK
3NA8 | Excavate trench of depth 850mm to the approval of the Engineer. Trench to be backfilled after pipe laying | LM | 100
3NA9 | Supply and lay HDPE pipes to BS 5114 or its equivalent in excavated trench and backfill
3NA9.1 | OD 50mm HDPE PN 10 | LM | 50
3NA9.2 | OD 40mm HDPE PN 6 | LM | 50
3NA10 | Galvanised steel tube to B.S.1387 in trench depth not exceeding depth not exceeding 1.5m.
3NA10.1 | 50 mm GI pipe; not in trench | nr | 3
3NA11 | Pipe fittings
3NA11.1 | 1.5" Ball float valve | nr | 2
3NA11.2 | 1.5" Brass Gate Valves | nr | 4
3NA11.3 | 1.5'' GI Elbow | nr | 2
3NA11.4 | 1.5" GI tank coupler | nr | 8
3NA11.5 | 1.5'' GI Nipple | nr | 2
3NA11.6 | OD 50mm PN10 Water Meter | nr | 1
3NA11.7 | 50 mm Long screws | nr | 2
3NA11.8 | 40 mm stainless Steel Strainer | nr | 1
3NA11.9 | 50mm x 1.5" HDPE Female elbow | nr | 2
3NA11.10 | OD 40mm GI Bulk water meter | nr | 1
3NA11.11 | Yarn | nr | 2
3NA11.12 | Boss white | nr | 2
3NA11.13 | 40mmX11/4" Female Adaptors | nr | 2
Plastic tank reservoir
3NA12 | Supply and install plastic tank of the following capacity as instructed by the engineer
3NA12.1 | 10,000 litres; vertical cylindrical tank | nr | 2
3NA13 | Construct a tap stand for domestic water use as per drawing | nr | 1
PIPE WORK MANHOLES AND PIPEWORK ANCILLIARIES
Insitu Concrete Manhole
3NA14 | Concrete washout outfall structure complete as specified in drawings and the following depths
3NA14.1 | Depth not exceeding 1.5 m | nr | 1
CONSTRUCTION OF PUMP HOUSE
3NA15 | Construct and complete pump house in accordance to the drawings and specifications and Engineer's instructions. Apply anti-termite treatment to all foundations, all round the structure | LS | 1
SOLAR ABSTRACTION SYSTEM INSTALLATION WORKS
3NA16 | Supply and install surface solar water pump with the pump characteristics; Q= 40m3/day, H=40m, complete with dry running protection | nr | 1
3NA17 | 300Wp Crystalline Solar Panels, optimum voltage 34-38V, current 8-9 Amps | nr | 8
3NA18 | AC pump controller to run the above pump | nr | 1
3NA19 | Surge Protector | nr | 1
3NA20 | Well probe sensor | nr | 1
3NA21 | PV disconnect | nr | 1
3NA22 | DROP CABLE 4mm2×4CORE,FLAT CABLE | LM | 40
3NA23 | CABLE TERMINATION KIT | nr | 1
3NA24 | SOLAR PANEL MOUNTING GALVANISED STRUCTURE C/W Metallic structures and civil platforms, about 1.0m off the ground for a 320Wp panel | sum | 8
3NA25 | 0.75mm2 Electrode cable | LM | 40
3NA26 | Electrodes( pair) | nr | 1
3NA27 | Electrical accessories for installation: cable tray Trunking about 5m, 6mm2 Underground (U/G) cable 40m includes all electricals for generator installations | sum | 1
3NA28 | Earthing system (25mm2 earth wire, copper mat, copper clamp, concrete earth pit & conductivity improvement materials) | sum | 1
3NA29 | Lightning Protection:(Arrestor, copper tape, copper mat, copper clamp, copper bolt & conductivity improvement materials) | sum | 1
3NA30 | Auxilliary Lighting system with 75Wp,panel, 5Amp Regulator, 55AH Battery, 3LED Lights, Battery Box, Panel mount frame, light fixtures and cabling and accessories | sum | 1
3NA31 | Plumbing works inside and outside the pump house;
3NA31.1 | 1.5” GI Pipe | nr | 4
3NA31.2 | Fittings (4no. 1.5”GI bends, 4 no. 1.5”GI nipples, 4no. 1.5''GI Tees, 1 No. 1.5” water meter (dry type), 3 No. 1.5” HDPE adapters, 1no. 1.5” Air valve, 3no. 1.5”GI unions, 2 no. 1.5''Global valve, 1 no.1/2” pressure gauge, 1 no. pressure sensor complete with switch. | sum | 1
3NA32 | DN 250 ST/DI Double flanged pipe casing with reinforced concrete base to anchor the submersible pump as per the drawing attached. | nr | 1
3NA33 | Supply and install 2No. sensors to allow for automatic switching on and off of the solar pump. | sum | 1
3NA34 | Provide and lay machine crushed stone aggregate of size 25mm for a layer of thickness 50mm placed on top of gauge 1000dpm within the area covered by solar array. | SM | 32
3NA35 | Provide 3KVA gasoline generator and its accessories as approved by the engineer | nr | 1
CONSTRUCTION OF VIP LATRINE
3NA36 | Construct a 2 stance improve pit latrine complete as given in the drawing and to the engineer's instructions; include all earthworks, brick works, concrete works, plumbing, drains e.t.c As detailed. | sum | 1
Total for Bill WKS 4 Carried to Summary>>>>>>>>>>>>>>>>