## Grand Summary
MINISTRY OF WATER AND ENVIRONMENT
WATER FOR PRODUCTION DEPARTMENT
KAWUMU PRESIDENTIAL MODEL VILLAGE IRRIGATION SYSTEM AND FACILITIES
BILLS OF QUANTITIES
GRAND SUMMARY
Bill Nr | Description |  | Amount
(USh)
1 | GENERAL ITEMS |  | 0
2 | DAYWORKS |  | 0
3 | BOREHOLE WORKS |  | 0
4 | TRANSMISSION MAIN |  | 0
5 | RESERVOIRS |  | 0
6 | WATER DISTRIBUTION NETWORK |  | 0
7 | DRIP IRRIGATION EQUIPMENT |  | 0
8 | SPRINKLER IRRIGATION EQUIPMENT |  | 0
9 | MECHANICAL & ELECTRICAL WORKS |  | 0
10 | TOOLS AND EQUIPMENT |  | 0
11 | GUARD AND ATTENDANT HOUSE |  | 0
12 | WATERBORNE PUBLIC TOILET |  | 0
13 | CONSUMER CONNECTIONS |  | 0
| SUB-TOTAL 1 |  | 0
|  | ADD, 10% CONTINGENCIES | 0
|  | SUB-TOTAL 2 | 0
| ADD 18% VAT |  | 0
| GRAND TOTAL CARRIED TO BID FORM |  | 0

## Bill 1 - General Items
MINISTRY OF WATER AND ENVIRONMENT
KAWUMU PRESIDENTIAL MODEL VILLAGE IRRIGATION SYSTEM AND FACILITIES
DESCRIPTION: GENERAL ITEMS
Item nr | Description | Unit | Quantity | Rate (USh) | Amount (USh)
Contractual Requirements
A110 | Performance security | sum | 1 |  | 0
A120 | Insurance of the Works | sum | 1 |  | 0
A130 | Third party insurance | sum | 1 |  | 0
A140 | Insurance of Contractors Equipment | sum | 1 |  | 0
Specified Requirements
Accommodation for the Project Manager's staff
A211.1 | Provision of offices | month | 8 |  | 0
A211.2 | Maintenance of offices | month | 8 |  | 0
Services for the Project Manager's staff
Communication System as follows
A222.1 | Establish communication system | sum | 1 |  | 0
A222.2 | Maintenance of the communication system | month | 8 |  | 0
Equipment for use by the Project Manager's staff
Office Equipment as follows
A231.1 | Provision of office furniture & equipment | sum | 1 |  | 0
A231.2 | Maintenance of office furniture & equipment | month | 8 |  | 0
A231.3 | Provision of office stationary and consummables | month | 8 |  | 0
Surveying Equipment
A233 | Provision of surveying equipment | month | 3 |  | 0
Attendance upon the Project Manager's staff
A241 | Provide services of drivers | month | 4 |  | 0
A242 | Provide services of chainmen | month | 3 |  | 0
Testing of Materials
A250 | Testing of pipes at Uganda Bureau of Standards | sum | 1 |  | 0
Testing of the Works
A260.1 | Pressure testing of pipelines; not exceeding OD110mm; maximum test pressure not exceeding 20 bars. | km | 3.5 |  | 0
A260.2 | Water Tightness testing of Steel Tank | sum | 1 |  | 0
A260.3 | Testing and certification of mechanical and electrical systems | sum | 1 |  | 0
Temporary Works
A277 | De-watering; Allow for work in water affected areas, including all temporary works, pumping, protection, access, etc to ensure the works are completed as specified; include removal of facilities. | sum | 1 |  | 0
Site Sign Boards as follows
A279.1 | Establishment | nr | 1 |  | 0
A279.2 | Maintenance of site sign-boards until the issue of the Taking-over of the Whole of the Works | wk | 24 |  | 0
A279.3 | Removal on completion | nr | 3 |  | 0
Record Drawings
A299.2 | Production of As-Built Record drawings (including re-surveying) | sum | 1 |  | 0
Carried to Collection |  |  |  |  | 0
Provisional Sums
A429.3 | Allow for training of Client's staff. | sum |  |  |  | 10000000
A429.4 | Provisional sum for Resident Engineer's supervision Infrastructure and administration | sum |  |  |  | 50000000
A999 | Contractor's charges and profits associated with administration of items A429.1 throuth A429.3 | % | 30% |  | 0
Carried to Collection |  |  |  |  | 0
Method-Related Charges
Method-related charges, if any, may be inserted by the Tenderer in accordance with Section 7 of CESMM3.
A310 | Mobilisation on site | sum | 1 |  | 0
A311 | Demobilise on completion of the Works | sum | 1 |  | 0
A312 | Supply and/or erect Contractor's site offices. | sum | 1 |  | 0
A313 | Maintain Contractor's site offices, including all services | month | 8 |  | 0
A314 | Remove Contractor's site offices on completion of the Works | sum | 1 |  | 0
Carried to Collection |  |  |  |  | 0
BILL NO. 1 - GENERAL ITEMS
Summary Page
| Page 1 of 4 |  |  |  | 0
| Page 2 of 4 |  |  |  | 0
| Page 3 of 4 |  |  |  | 0
Carried to Summary |  |  |  |  | 0

## Bill 2 - Dayworks
MINISTRY OF WATER AND ENVIRONMENT
KAWUMU PRESIDENTIAL MODEL VILLAGE IRRIGATION SYSTEM AND FACILITIES
DESCRIPTION: DAY WORKS
Item nr | Description | Unit | Quantity | Rate (USh) | Amount (USh)
Labour
A 4 1 1.1 | Unskilled labour. | hr | 50 |  | 0
A 4 1 1.2 | Semi-skilled labour. | hr | 20 |  | 0
A 4 1 1.3 | Skilled labour/ Artisan | hr | 20 |  | 0
A 4 1 1.4 | Working ganger. | hr | 20 |  | 0
A 4 1 1.5 | Driver - light vehicle | hr | 20 |  | 0
A 4 1 1.6 | Operator for heavy equipment | hr | 60 |  | 0
0
| Materials |  |  |  | 0
0
A 4 1 3.1 | Concrete class 15/20. | m3 | 2 |  | 0
A 4 1 3.2 | Concrete class 20/20. | m3 | 2 |  | 0
A 4 1 3.3 | Concrete class 25/20. | m3 | 1 |  | 0
| High yield reinforcement |  |  |  | 0
A 4 1 3.4 | 8mm | kg | 35 |  | 0
A 4 1 3.5 | 10mm | kg | 42 |  | 0
A 4 1 3.6 | 12mm | kg | 55 |  | 0
| Steel reinforcement fabric to BS reference |  |  |  | 0
A 4 1 3.7 | A252 | m2 | 10 |  | 0
A 4 1 3.8 | Hardcore filling | m3 | 3 |  | 0
A 4 1 3.9 | Ordinary Portland cement in 50kg bars. | t | 0.5 |  | 0 | 600000
A 4 1 3.10 | Building and plaster sand. | m3 | 1 |  | 0
A 4 1 3.11 | Supplementary charge (percentage) on base rate for materials other than described above. | % | 20 |  | 0
| Equipment |  |  |  | 0
0
A 4 1 5.1 | Pick-up, 1.5t | hr | 12 |  | 0
| Flatbed |  |  |  | 0
A 4 1 5.2 | 5t capacity | hr | 2 |  | 0
A 4 1 5.3 | 10t capacity | hr | 2 |  | 0
| Tipping lorry |  |  |  | 0
A 4 1 5.4 | 5t capacity | hr | 2 |  | 0
A 4 1 5.5 | 10t capacity | hr | 3 |  | 0
Carried to Collection
0
Equipment
Water tankers with pump and hoses
A 4 1 5.6 | 2,500l capacity | hr | 1 |  | 0
A 4 1 5.7 | 5,000l capacity | hr | 3 |  | 0
Excavator or Face shovel
A 4 1 5.8 | 0.25m3 bucket | hr | 8 |  | 0
Excavator Backhoe
A 4 1 5.9 | 0.25m3 bucket | hr | 5 |  | 0
Tractors
A 4 1 5.10 | Rubber tyred with trailer, 75KW | hr | 5 |  | 0
Wheel loaders
A 4 1 5.11 | 1.0m3 bucket | hr | 5 |  | 0
Dumpers
A 4 1 5.12 | 1m3 capacity | hr | 5 |  | 0
Roller
A 4 1 5.13 | Vibratory, self propelled, 1.5t | hr | 5 |  | 0
Mobile Cranes: including slings chains, dogs and nips
A 4 1 5.14 | 5t capacity | hr | 5 |  | 0
Equipment
A 4 1 5.15 | Air compressors, mobile with 5m of hose and steels with 2 breakers | hr | 10 |  | 0
A 4 1 5.16 | Mobile electricity generating sets, 240V, 50 HZ, 5 KVA | hr | 10 |  | 0
Compactors
A 4 1 5.17 | Vibrating plate. | hr | 5 |  | 0
A 4 1 5.18 | Mechanical rammer. | hr | 5 |  | 0
Dewatering Pumps with motor and 5m suction, 3m delivery hose
A 4 1 5.19 | Norminal size 50mm. | hr | 20 |  | 0
A 4 1 5.20 | Nominal size 100mm. | hr | 20 |  | 0
Carried to Collection
0
BILL No. 2 - DAYWORKS
Summary Page
| Page 1 of 3 |  |  |  | 0
| Page 2 of 3 |  |  |  | 0
Carried to Summary |  |  |  |  | 0

## Bill 3 - Pump Hse
MINISTRY OF WATER AND ENVIRONMENT
KAWUMU PRESIDENTIAL MODEL VILLAGE IRRIGATION SYSTEM AND FACILITIES
DESCRIPTION: BOREHOLE SOURCE WORKS
Item nr | Description | Unit | Quantity | Rate (USh) | Amount (USh)
Preamble:
The works under this bill are covered under Part 2 of the Particular Specifications. The relevant drawings are the DRAWING KAW-PRES/IGS/PH-1 series (including references made there-in to other drawings)
DEMOLITION AND SITE CLEARANCE
General Site Clearance
D100 | General site clearance including clearance of access road to the site | m2 | 400 |  | 0
Trees
Cut and dispose of trees of the following girth; include removal of stump and backfilling the hole left with top soil
D210 | Girth 500 mm-1 m | nr | 1 |  | 0
Stumps
Remove and dispose of stumps of the following diameter; include for grabbing up the roots and backfilling the hole left with top soil
D310 | Diameter 150-500 mm | nr | 1 |  | 0
EARTHWORKS
Excavation for foundations
Topsoil
E310 | Strip site of top soil average depth 150mm and deposit in heaps at an appropriate place 300m away from site | m3 | 11 |  | 0
All Materials other than top soil
Excavation for foundations in all materials including rock or artificial hard material, commencing surface is the stripped ground level
E323 | Depth for Buildings 0-1.5m | m3 | 21 |  | 0
Excavation Ancillaries
E596 | Allow for all excavation ancillaries including trimming, preparation, and compaction of excavated surfaces, disposal of excavated material, and timber supports to all excavated surfaces | Sum | 1 |  | 0
Anti-termite Treatment
E597 | Apply approved anti-termite treatment to surfaces of hardcore blinding, sides and bottoms of foundation excavations to the manufacturer's instructions | sum | 1 |  | 0
Filling
Filling to structures by methods specified and to depths as shown in the drawings with the following materials
E615 | Selected imported granular material other than topsoil, rock or artificial hard material to pump house area and compacted to 98% MOD AASHTO | m³ | 8 |  | 0
|  |  |  | Carried to Collection | 0
E645 | 50mm thick bed of approved imported sand blinding on top of hardcore fill well spread, levelled, rammed and consolidated to the Engineer's satisfaction | m³ | 1 |  | 0
E647 | 300mm thick bed of approved imported hardcore well spread, levelled, rammed and consolidated on stabilized ground to the Engineer's satisfaction | m³ | 12 |  | 0
Landscaping
E810 | Turfing for lawns inside fenced off compound; include filling with excavated topsoil, levelling and the preparation of the surfaces. Include the planting of water friendly trees as recommended by the Engineer | m² | 400 |  | 0
IN SITU CONCRETE
Provision of Concrete
Ordinary Designed Mix Concrete
Grade C20
Designed mix, grade C20 concrete, to BS 5328, with ordinary portland cement to BS 12, aggregate to BS882, for the following aggregate sizes
F141 | 10mm aggregate | m³ | 1 |  | 0
Grade C25
Designed mix, grade C25 concrete, to BS 5328, with ordinary portland cement to BS 12, aggregate to BS882, for the following aggregate sizes
F151 | 10mm aggregate | m³ | 2 |  | 0
Placing Mass Concrete
Bases, Footings and Ground Slabs
Placing mass concrete, for strip foundations, grade C20, of the following thickness
F522 | Thickness 150-300mm | m³ | 1 |  | 0
Placing Reinforced Concrete
Bases, Footings and Ground Slabs
Placing reinforced concrete grade C25, for floor slab and generator plinth of the following thickness
F622 | Thickness 150-300mm | m³ | 1 |  | 0
Suspended Slabs
Placing reinforced concrete, grade C25, for false slab (ceiling) of the following thickness
F631 | Thickness not exceeding 150mm | m³ | 0.5 |  | 0
|  |  |  | Carried to Collection | 0
Beams
Placing reinforced concrete, grade C25, for ring beam of the following cross-sectional area
F662 | Cross-sectional area 0.03 - 0.1 m2 | m³ | 0.5 |  | 0
CONCRETE ANCILLARIES
Formwork-Fair Finish
Fair Finish Plane Horizontal
Plane fair finish horizontal formwork to floor and pump houses of the following width
G214 | Width: 0.4-1.22m; to false slab soffits | m² | 35 |  | 0
Fair Finish Plane Vertical
Plane fair finish vertical formwork of the following width
G244.1 | Width: 0.4-1.22m; to floor and generator plinth | m² | 5 |  | 0
G244.2 | Width: 0.4-1.22m; to sides of the ring beam and false slab | m² | 5 |  | 0
Reinforcement
Deformed High Yield Steel Bars
High yield square twisted or ribbed bars to BS4449 and of the following sizes
G525 | Nominal size, 6 - 16mm | kg | 3145 |  | 0
Steel Fabric
High tensile steel fabric reinforcement to BS 4483, fabric reference A252, cast in concrete slab with minimum 200mm end side laps, and of the following mass
G564 | Nominal mass 4-5 kg/m² | m2 | 30 |  | 0
Concrete Accessories
Finishing of Top Surfaces
Finishing of top surfaces by the following methods
G811 | Class U2 wood float finish to top of floor of Pump Stations | m2 | 30 |  | 0
PIPEWORK - FITTINGS AND VALVES
Cast or Spun Iron Pipe Fittings
Bends
Ductile iron all flanged bend, to BS 4772, flanges to BS 4504, all to PN 16 DN 65 mm, cement mortar lined, and of the following sizes
J311.1 | 45 degree | No | 2 |  | 0
J311.3 | 90 degree | No | 1 |  | 0
|  |  |  | Carried to Collection | 0
Junctions and Branches
Ductile iron all flanged tee, to BS 4772, flanges to BS 4504, all to PN 16, cement mortar lined, and of the following sizes
J312.1 | DN 65 mm | No | 3 |  | 0
Non-Return Valve
All flanged Non-return valve to BS 4772, flanges to BS 4504 all to PN16, of the following sizes
J331.1 | DN 65 MM | nr | 1 |  | 0
Adaptors
Viking Johnson / Maxi Flanged Adaptor
J351.1 | DN 65 mm | No | 1 |  | 0
Straight
Straight specials - PN16 DN 65 mm pipe of the following sizes;
J381.1 | Double flanged pipe 1000mm long, cut to suit on site | No | 2 |  | 0
J381.1 | Double flanged pipe 2000mm long, cut to suit on site | No | 2 |  | 0
Gate Valves
All flanged gate valve installation to BS 5153, flanges to BS 4505 all to PN 16, as shown in the drawing for the following sizes
J811.1 | DN 65 mm | No | 3 |  | 0
Air Valves
BH 18- Flanged VENT-O-MAT CI small orifice anti-shock double air relief valve as specified, flanges to ISO 2441, complete with isolating flanged gate valve to BS 5150 for the following pipe sizes
J861.2 | DN 50mm to PN25 | No | 1 |  | 0
Pressure Gauge
J891.1 | BH10 - WIKA pressure gauge, DN 50mm case, glycerine filled with 15mm male thread | No | 1 |  | 0
|  |  |  | Carried to Collection | 0
Bulk Flow Meter
J991.1 | BH13 - flanged DN 65mm MEINECKE Cosmos WP bulk water meter | No | 1 |  | 0
PIPEWORK-SUPPORTS AND PROTECTION, ANCILLARIES TO LAYING AND EXCAVATION
Isolated pipe supports
L811 | Pipe support 1 - mass concrete 200mm x 200mm x 600mm high, Class 25/30, to pipes and fittings | nr | 3 |  | 0
ROADS AND PAVINGS
Road Base and wearing course
Provide, transport up to site, spread, shape, and compact to atleast 95% MDD AASHTO gravel material for flexible road base, of the following thickness
R117 | Depth 150-300 mm applied to access road and parking area | m3 | 450 |  | 0
Kerbs
Construct Kerbs of pre-cast concrete to BS 7263 of cross section area 0.05-0.1 m² to the following alignment
R711 | Straight or curved to a radius exceeding 12 m | m | 180 |  | 0
R712 | To a radius not exceeding 12 m | m | 40 |  | 0
PAVINGS
Walkways
R911 | Concrete (C20) paved walkway in 600 x 600 x 50mm thick sections; include sand bedding, earthworks, jointing and concrete edge protection | m² | 200 |  | 0
BRICKWORK & MASONRY
Dense concrete blockwork to BS 7263, jointed with ordinary 1:5 cement mortar, hoop irons every three courses, including 1:4 cement plaster to both faces complete with concrete louvres, as detailed in the drawings, for walls of the following thickness
U521 | 230 mm thick | m2 | 180 |  | 0
|  |  |  | Carried to Collection | 0
Permanent Vents
Construct dense concrete pre-cast louvered blockwork vents to BS 7263, jointed with ordinary 1:4 cement mortar, hoop irons every three courses, as detailed in the drawings of the following sizes
U590 | 1200mm x 2000mm (W x H) | nr | 2 |  | 0
PAINTING
High Gloss
Timber Surfaces
External quality weather guard paint, two coats, to the following timber surfaces; include surface preparation and undercoat
V321 | Upper surfaces of fascia board inclined at an angle not exceeding 30 degrees to the horizontal | m² | 18.4 |  | 0
Masonry
External quality weather guard paint, two coats, to the following smooth concrete surfaces; include surface preparation and under coat as specified
V363 | Surfaces of walls inclined at an angle exceeding 60 degrees to the horizontal | m² | 16.4 |  | 0
Emulsion Paint
Masonry
Internal quality vinyl silk paint, two coats, to the following smooth concrete surfaces; include surface preparation as specified
V563 | Surfaces of walls inclined at an angle exceeding 60 degrees to the horizontal | m2 | 220.8 |  | 0
WATER PROOFING
Protective Layers
Flexible Sheeting
Flexible polyethylene sheeting, gauge 1000, or similar approved, laid with 300mm overlaps at joints, to the surface of sand blinded hardcore fill
W421.1 | Surfaces of blinding hardcore inclined at an angle not exceeding 30 degrees to the horizontal | m² | 46 |  | 0
Damp proof course of Hessian based bitumen impregnated fabric to BS 6398 bedded on 1:4 cement and sand mortar with 150mm overlaps at joints; for the following wall
W421.2 | 230 mm thick | m | 25 |  | 0
Sand and Cement Screed
Sand and cement screed of 1:3 cement sand mortar, applied to concrete floors, 25 mm thick, prepared and applied as specified, and finished with a steel float
W441 | Surfaces of floors inclined at an angle not exceeding 30 degrees to the horizontal | m² | 46 |  | 0
|  |  |  | Carried to Collection | 0
Rendering- Rough Cast
W511 | Apply rough cast to external wall surfaces inclined at an angle exceeding 60 degrees to the horizontal in 1:3 ordinary cement mortar to the Engineer's satisfaction | m2 | 110.4 |  | 0
MISCELLANEOUS WORKS
Roofing
KAW-PR/1.1 | Construct roofing, complete as in the drawings and as specified; include tie beams, purlins, rafters, struts, wall plate, facia board and all roofing timber, eave closing, gauge 26 prepainted GCI resin sheeting and ridges | m² | 37 |  | 0
Doors
Supply and fix the following mild steel doors to the Engineers' details constructed from 75 x 50 x 2mm hollow steel sections primed with red oxide paint, painted with three coats of high gloss paint; complete with all necessary iron mongery, 3-lever Yale locking arrangements, and accessories, including aluminium mosquito proof wire gauze welded to mild steel frames in 300mm high permanent vents
KAW-PR/1.2 | Single leaf steel door, size 1500 x 2400mm with 700mm high 4mm thick glass panes and burglar proofing; complete | nr | 1 |  | 0
Building Finishes
KAW-PR/1.3 | Building finishes including, constructing 20x100mm high 1:3 cement-sand skirting, C20 concrete window cills, 700mm wide C20 concrete splash apron, complete to the specifications and as directed by the Engineer | sum | 3 |  | 0
Fences
X135 | 100x100mm Concrete post of C25 concrete and wire galvanised wire chain link fence of gauge 10 to BS 1722, with triple row of barbed wire on top, anchored into blockwork dwarf wall as per drawings, height 2-2.5 m | m | 200 |  | 0
Gates
Supply and complete installation of painted metal field gate to BS 3470 include C25 reinforced concrete pad foundations and columns; and of the following widths
X236 | Width 3.5 m, double leaf complete | nr | 1 |  | 0
|  |  |  | Carried to Collection | 0
BILL N0.3 - PUMP HOUSE
Summary Page
| Page 1 of 8 |  |  |  | 0
| Page 2 of 8 |  |  |  | 0
| Page 3 of 8 |  |  |  | 0
| Page 4 of 8 |  |  |  | 0
| Page 5 of 8 |  |  |  | 0
| Page 6 of 8 |  |  |  | 0
| Page 7 of 8 |  |  |  | 0
Carried to Summary |  |  |  |  | 0

## Bill 4 - Transmission Main
MINISTRY OF WATER AND ENVIRONMENT
KAWUMU PRESIDENTIAL MODEL VILLAGE IRRIGATION SYSTEM AND FACILITIES
DESCRIPTION: PUMPING MAIN
Item nr | Description | Unit | Quantity | Rate (USh) | Amount (USh)
Preamble:
The works under this bill are covered under Part 2 of the Particular Specifications. The relevant drawings are the DRAWING KAW-PRES/IGS/TM-2 series (including references made there-in to other drawings)
DEMOLITION AND SITE CLEARANCE
General Site Clearance
D100 | General site clearance for pipe trench | ha | 1.5 |  | 0
Trees
D210 | Girth 500 mm-1 m | nr | 3 |  | 0
Stumps
D310 | Diameter 150-500 mm | nr | 3 |  | 0
PIPEWORK-PIPES
uPVC PN16 OD 75 pressure pipes to UNBS US 482:2003 and DIN 8074; in trenches as follows:
I712 | OD 75, depth not exceeding 1.5m | m | 1500 |  | 0
PIPEWORK-FITTINGS AND VALVES
Steel pipe fittings to BS 534 with internal and external epoxy coating to AWWA C210; PN 10 flanges; in trenches not exceeding 1.5 m
Ductile iron all flanged tee, to BS 4772, flanges to BS 4504, all to PN 16, cement mortar lined, and of the following sizes
J312.1 | 65/50 mm ND | No | 4 |  | 0
Viking Johnson flange adaptor, AquaFast type, PN 10 flanges to BS 4505 to fit PVC/ HDPE spigot
J351.1 | DN 65 | nr | 8 |  | 0
Valves and Penstocks
Cast Iron gate valves to BS 5150 with PN 10 flanges to BS 4505; with T-key length not exceeding 1.5 m
J811.1 | DN 65 | nr | 6 |  | 0
J831 | DN 65, cast iron noiseless non-return valve to BS 5153 | nr | 1 |  | 0
J861 | DN50, 3-stage anti-surge anti-shock air valve as manufactured by Vent-o-Mat® complete with isolating valve as drawings | nr | 4 |  | 0
J891 | DN 65 Circular Flap Valve to washouts; PN 10 flanges | nr | 3 |  | 0
Carried to Collection |  |  |  |  | 0
PIPEWORK-MANHOLES AND PIPEWORK ANCILLARIES
Concrete Chambers; depth not exceeding 1.5 m
K231.1 | Washout chamber | nr | 3 |  | 0
K231.2 | Washout outfall structure | nr | 3 |  | 0
K231.3 | Valve Surface box | nr | 1 |  | 0
K251 | Pre-cast concrete chamber to air valves; depth not exceeding 1.5m | nr | 1 |  | 0
Stone-pitch lined trapezoidal ditches; cross-section area:
K492 | 0.25 - 0.5 m2 | m | 10 |  | 0
K493 | 0.75 - 1m2 | m | 15 |  | 0
K731 | Reinstatement of gravel roads; breaking up, temporary and permanent reinstatement; pipe not exceeding 300 mm | m | 50 |  | 0
Other pipework ancillaries; Marker Posts
K820.1 | Air valves | nr | 4 |  | 0
K820.2 | Washouts | nr | 1 |  | 0
PIPEWORK-SUPPORTS AND PROTECTION, ANCILLARIES TO LAYING AND EXCAVATION
Extras to excavation and backfilling
Excavation of rock
L111 | In pipe trenches | m³ | 180 |  | 0
L121 | In manholes and other chambers | m³ | 5 |  | 0
L118 | Excavation of natural material below Final Surface and backfilling with imported granular material in pipe trenches | m³ | 5 |  | 0
Surrounds; pipes not exceeding DN 65 mm
L521 | Selected excavated granular material | m | 225 |  | 0
L531 | Imported granular material | m | 100 |  | 0
L541 | Mass concrete | m | 25 |  | 0
Mass Concrete Stools and Thrust Blocks; grade C15; pipes not exceeding DN65
L722 | Volume 0.1 - 0.2 m³ | nr | 1 |  | 0
L732 | Volume 0.2 - 0.5 m³ | nr | 1 |  | 0
Carried to Collection |  |  |  |  | 0
BILL NO. 4.1 - PUMPING MAIN
Summary Page
| Page 1 of 3 |  |  |  | 0
| Page 2 of 3 |  |  |  | 0
Carried to Summary |  |  |  |  | 0

## Bill 5 - Reservoir-120cum.
MINISTRY OF WATER AND ENVIRONMENT
KAWUMU PRESIDENTIAL MODEL VILLAGE IRRIGATION SYSTEM AND FACILITIES
DESCRIPTION: RESERVOIR 120CUM
Item nr | Description | Unit | Quantity | Rate (USh) | Amount (USh)
Preamble:
The works under this bill are covered under Part 2 of the Particular Specifications. The relevant drawings are the DRAWING KAW-PRES/IGS/Resr-3 series (including references made there-in to other drawings)
DEMOLITION AND SITE CLEARANCE
General Site Clearance
D100 | General site clearance for reservoir site 200cu.m | m2 | 64 |  | 0
Trees
Cut and dispose of trees of the following girth; include removal of stump and backfilling the hole left with top soil
D210 | Girth up to 500mm | nr | 1 |  | 0
Stumps
Remove and dispose of stumps of the following diameter; include for grabbing up the roots and backfilling the hole left with top soil
D310 | Diameter upto 500 mm | nr | 1 |  | 0
EARTHWORKS
General Excavation
Top soil
E411 | Removal of top soil depth not exceeding 0.25m for the new site works, allow for storage for re-use in landscaping | m³ | 1 |  | 0
Excavation for foundations
Ordinary Soil
Excavation for foundations, in material other than rock or artificial hard material,commencing surface is the formation level including disposal of excavated material
E322 | Depth 0.25-1.5m | m³ | 4 |  | 0
Rock
Excavation for foundations, in rock,commencing surface is the exposed surface of the rock including disposal of excavated material
E332 | Depth 0-0.5m | m³ | 1 |  | 0
Excavation Axilliaries
Preparation
Preparation of excavated surfaces for Column foundations in the following materials
E522 | Material otherthan topsoil, rock or artificial hard material inclined at an angle not exceeding 45 degrees to the horizontal | m2 | 7 |  | 0
E523 | Rock surfaces inclined at an angle not exceeding 45 degrees to the horizontal | m2 | 7 |  | 0
Disposal of excavated material
Disposal of excavated material to sites as specified and directed by the Engineer
E532 | Material other than rock, or artificial hard material | m³ | 2 |  | 0
E533 | Rock material | m³ | 2 |  | 0
Foundation Bases
Provision of Concrete
Ordinary Designed Concrete mix
Grade C15
Designed mix, grade C15 concrete, to BS 5328, with ordinary Portland cement to BS 12, aggregate to BS 882, for the following aggregate sizes
F521 | 10 mm aggregate | m³ | 3 |  | 0
Reinforced Concrete
Designed mix, grade C25 concrete, to BS 5328, with ordinary Portland cement to BS 12, aggregate to BS 882, for the following aggregate sizes
F655 | 10 mm aggregate | m³ | 9 |  | 0
|  |  |  | Carried to Collection | 0
Placing Mass Concrete
Blinding
Placing blinding concrete, for ground slab, grade C15, of the following thickness
F611 | Thickness not exceeding 150mm | m³ | 3 |  | 0
Placing Reinforced Concrete
Bases, Footings and Ground Slabs
Placing reinforced concrete C25, for ground slab and of the following thickness
F722 | Thickness 150-300mm | m³ | 2 |  | 0
Columns
Placing reinforced concrete, grade C25, for columns of the following cross-sectional area
F763 | Cross-sectional area 0.10 - 0.25 m2 | m³ | 7 |  | 0
CONCRETE ANCILLARIES
Fair Finish Plane Vertical
Plane fair finish vertical formwork of the following width
G244 | Width 0.4 - 2.5m for the foundation bases | m² | 46 |  | 0
Reinforcement
High Yield Steel
High yield squire twisted bars to BS4449 and of the following sizes
G524 | Nominal size, 6-25mm | Kg | 200 |  | 0
0
| Concrete Accessories |  |  |  | 0
| Finishing of top surfaces by the following methods |  |  |  | 0
| With Wood float finish | m² | 9 |  | 0
PIPEWORK - MANHOLES AND PIPEWORK ANCILLARIES
Manholes
Blockwork Manhole
Blockwork chamber complete with C20 concrete base, vented lockable manhole cover, valve surface boxes, galvanised step irons, as specified in the drawings, and of the following depths
K171 | Depth not exceeding 1.5m | nr | 2 |  | 0
0
| In situ Concrete Chambers |  |  |  | 0
0
| Washout out fall structure, complete including flap valve, all fittings and pipework necessary to complete installation, as specified in drawings, and of the following depths; all fittings and pipework to PN 10 |  |  |  | 0
0
K231 | Depth not exceeding 1.5m | nr | 1 |  | 0
0
ROADS AND PAVINGS
Road Base and wearing course
Provide, transport up to site, spread, shape, and compact to atleast 95% MDD AASHTO gravel material for flexible road base, of the following thickness
R117 | Depth 150-300 mm applied to access road and parking area | m3 | 400 |  | 0
Kerbs
Construct Kerbs of pre-cast concrete to BS 7263 of cross section area 0.05-0.1 m² to the following alignment
R711 | Straight or curved to a radius exceeding 12 m | m | 40 |  | 0
R712 | To a radius not exceeding 12 m | m | 40 |  | 0
PAVINGS
Walkways
R911 | Concrete (C20) paved walkway in 600 x 600 x 50mm thick sections; include sand bedding, earthworks, jointing and concrete edge protection | m² | 20 |  | 0
|  |  |  | Carried to Collection | 0
MISCELLANEOUS WORKS
Marker Posts
XXX3 | Marker posts for gate valves | nr | 1 |  | 0
XXX4 | Marker posts for meters | nr | 1 |  | 0
XXX5 | Marker posts for washouts | nr | 1 |  | 0
X135 | 100x100mm Concrete post of C25 concrete and wire galvanised wire chain link fence of gauge 10 to BS 1722, with triple row of barbed wire on top, anchored into blockwork dwarf wall as per drawings, height 2-2.5 m | LM | 80 |  | 0
0
| Gates |  |  |  | 0
0
| Supply and complete installation of painted metal field gate to BS 3470 include C25 reinforced concrete pad foundations and columns; and of the following widths |  |  |  | 0
0
X136 | Width 3.5 m, double leaf complete | No. | 1 |  | 0
0
X137 | Construct a reinforced grade 20 (20mm dia agg, machine crushed and graded) concrete column 2100mm high onto which the steel gate shall be anchored. | CM | 1 |  | 0
0
| Sawn formwork as described to; |  |  |  | 0
0
X138 | sides of the reinforced concrete collumns | SM | 6 |  | 0
0
| Compound levelling |  |  |  | 0
X139 | Level the site and remove all debris and prepare the ground ready and plant grass recommended by the Supervising Engineer. | SM | 400 |  | 0
STEEL TANK
X140 | Supply and install a prefabricated cold pressed pannel steel tank of effective capacity 200m3 on a 15m Steel Tower, inclusive of 2no. DN 65mm DI riser and inlet flanged pipeline with float valve, DN 100mm DI oulet flanged pipeline with strainer and flanged gate valve, DN 50mm DI washout and overflow flanged pipeline with gate valve connecting to drainage manhole and washout outfall structure, 75 mm of uPVC OD 110mm PN6 washout pipeline to outfall structure, level indicator with a scale reading in units of 200cu.m , internal and external access ladders with a protection hoop, lockable access manhole on top, vents, final interior coat of non-toxic 2Pack epoxy black paint and exterior coat of silver aluminium; include excavation, backfilling, pipe bedding, all necessary fittings, bulk flow meter (DN 100mm MEINECKE Cosmos WP water meter) and thrust blocks, necessary chambers with steel lockable covers fabricated from 4mm thick steel plate sheets, access ladder to complete installation as illustrated in the drawings to the Engineer's satisfaction and to manufacturer's recommendations | nr | 1 |  | 0
X141 | Interconnection to existing tanks and distribution network | sum | 1 |  | 0
X142 | Allow for Geotechnical Investigations | sum | 1 |  | 0
|  |  |  | Carried to Collection | 0
BILL NO. 5 - RESERVOIR 200 cum
Summary Page
| Page 1 of 4 |  |  |  | 0
| Page 2 of 4 |  |  |  | 0
| Page 3 of 4 |  |  |  | 0
Carried to Summary |  |  |  |  | 0

## Bill 6 - Distribution
MINISTRY OF WATER AND ENVIRONMENT
KAWUMU PRESIDENTIAL MODEL VILLAGE IRRIGATION SYSTEM AND FACILITIES
DESCRIPTION: IRRIGATION WATER DISTRIBUTION NETWORK
Item nr | Description | Unit | Quantity | Rate (USh) | Amount (USh)
Preamble:
The works under this bill are covered under Part 2 of the Particular Specifications. The relevant drawings are the DRAWING KAW-PRES/IGS/DM-4 series (including references made there-in to other drawings)
DEMOLITION AND SITE CLEARANCE
General Site Clearance
D100 | General site clearance for pipe route | m2 | 1560 |  | 0
D210 | Trees; girth 500 mm-1 m | nr | 2 |  | 0
PIPEWORK - PIPES
uPVC PN10 pressure pipes to UNBS US 264: 2001 and DIN 8062 with integral rubber ring socket joints laid in trenches
I512 | OD 90, depth not exceeding 1.5m | m | 1600 |  | 0
High density polyethylene pipes to UNBS US 482: 2003 and DIN 8074 laid in trenches as follows
OD75 to PN 10
I712.1 | Depth not exceeding 1.5 m | m | 1200 |  | 0
OD50 to PN 10
I712.3 | Depth not exceeding 1.5 m | m | 1000 |  | 0
Secondary Distribution and service lines; High density polyethylene pipes to UNBS US 482: 2003 and DIN 8074 all to PN10 laid at depth not exceeding 1.5m; includes pipes, excavation, surrounds and backfill
I712.5 | OD40 to PN 10
| Depth not exceeding 1.5 m | m | 25000 |  | 0
PIPEWORK-FITTINGS AND VALVES
PN10 PVC rubber seal fittings
J421 | OD110 tee | nr | 1 |  | 0
J451.1 | OD110 flange adaptor | nr | 1 |  | 0
J451.2 | OD110 x 75 stepped coupling PVC/HDPE | nr | 1 |  | 0
PN 10 HDPE compression pipe fittings to DIN 8074 and BS 5114
Equal Tees
J621.1 | OD110 | nr | 1 |  | 0
J621.2 | OD75 | nr | 5 |  | 0
J621.3 | OD50 | nr | 5 |  | 0
Reducing coupler
J631.1 | OD110 x 75 | nr | 1 |  | 0
J631.2 | OD75 x 50 | nr | 1 |  | 0
Carried to Collection |  |  |  |  | 0
PIPEWORK-FITTINGS AND VALVES
Compression Flange adaptor to fit HDPE pipe spigots, to DIN 8076 - BS 5114, all to PN 10, and of the following spigot sizes
Adaptors
J651.1 | OD 50 | nr | 4 |  | 0
J651.2 | OD 75 | nr | 2 |  | 0
J651.3 | OD 90 | nr | 6 |  | 0
uPVC / DI end caps to fit uPVC spigots, to ISO 161 and to PN 10 of the following spigot sizes
End caps
J691.1 | OD 40 | nr | 23 |  | 0
J691.2 | OD 50 | nr | 6 |  | 0
J691.3 | OD 75 | nr | 1 |  | 0
PIPEWORK-FITTINGS AND VALVES
Valves and Penstocks
Cast Iron gate valves to BS 5150 with PN 10 flanges to BS 4505; with T-key length not exceeding 1.5 m
J811.1 | OD 50 | nr | 1 |  | 0
J811.2 | OD 75 | nr | 1 |  | 0
J811.3 | OD 110 | nr | 1 |  | 0
J891 | OD 50 cast iron flap valves to washout outfall structure | nr | 6 |  | 0
PIPEWORK-MANHOLES AND PIPEWORK ANCILLARIES
In situ Concrete Chambers; depth not exceeding 1.5 m
K231.1 | Washout Chamber | nr | 6 |  | 0
K231.2 | Washout Outfall structure | nr | 6 |  | 0
K231.3 | Gate Valve chamber as shown on drawings, complete with isntallation of a lockable cover | nr | 1 |  | 0
K231.4 | Valve surface box | nr | 1 |  | 0
Crossings; pipe not exceeding 300 mm
K611 | Streams; width 1 - 3 m | nr | 2 |  | 0
K641 | Hedges | nr | 5 |  | 0
K661 | Fences | nr | 5 |  | 0
Reinstatement; pipe not exceeding 300 mm
K731 | Gravel roads; breaking up, temporary and permanent reinstatement | m | 90 |  | 0
Other pipework ancillaries
K820.1 | Marker Posts to Washouts | nr | 6 |  | 0
K820.2 | Marker Posts to Gate Valve | nr | 1 |  | 0
Carried to Collection |  |  |  |  | 0
PIPEWORK-MANHOLES AND PIPEWORK ANCILLARIES
Yard Tap connections complete
DN20 (½") service connection comprising saddle clamp and screwdown swivel ferrule with compression outlet for HDPE complete, maximum 80m service pipe off the following mains
K861.1 | OD50 | nr | 1 |  | 0
PIPEWORK-SUPPORTS AND PROTECTION, ANCILLARIES TO LAYING AND EXCAVATION
Extras to excavation and backfilling
Excavation of rock
L111 | In pipe trenches | m³ | 5 |  | 0
L118 | Excavation of natural material below Final Surface and backfilling with imported granular material in pipe trenches | m³ | 5 |  | 0
Surrounds; pipe not exceeding 200 mm
L521 | Selected excavated granular material | m | 6600 |  | 0
L531 | Imported granular material | m | 1200 |  | 0
Fences
X135 | 100x100mm Concrete post of C25 concrete and wire galvanised wire chain link fence of gauge 10 to BS 1722, with triple row of barbed wire on top, anchored into blockwork dwarf wall as per drawings, height 2-2.5 m | m | 500 |  | 0
Gates
Supply and complete installation of painted metal field gate to BS 3470 include C25 reinforced concrete pad foundations and columns; and of the following widths
X236 | Width 3.5 m, double leaf complete | nr | 1 |  | 0
Carried to Collection |  |  |  |  | 0
BILL NO. 6 - DISTRIBUTION PIPEWORK
Summary Page
| Page 1 of 4 |  |  |  | 0
| Page 2 of 4 |  |  |  | 0
| Page 3 of 4 |  |  |  | 0
Carried to Summary |  |  |  |  | 0

## Bill 7 - Drip Irrigation
MINISTRY OF WATER AND ENVIRONMENT
KAWUMU PRESIDENTIAL MODEL VILLAGE IRRIGATION SYSTEM AND FACILITIES
DESCRIPTION: DRIP IRRIGATION EQUIPMENT
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (UGX) | AMOUNT (UGX)
PREAMBLE
Lay and install equipment for 4 acre drip irrigation system
DDR1 | Excavations
DDR1.1 | Excavate oversite average depth 1000mm to invert level for sub - mains and laterals as directed by the Engineer | sq. m | 16187 |  | 0
DDR1.2 | Excavation of drains | m3 | 300 |  | 0
DDR1.3 | Removal of excess material as required by the Engineer | m3 | 300 |  | 0
Carried to Collection |  |  |  |  | 0
DDR2 | 1 acre Drip line System Installation & Testing as approved by the Engineer |  |  |  | 0
DDR2.1 | DRIP LINES AG A5 16MM(35W).5GPH 24" (A516350524) | m | 15000 |  | 0
DDR2.2 | PVC Pipe 63 mm | No. | 20 |  | 0
DDR2.3 | PVC Pipe 90 mm | No. | 20 |  | 0
DDR2.4 | DRIP STARTER 16mm | m | 150 |  | 0
DDR2.5 | START RUBBER 16mmX13mm | PC | 150 |  | 0
DDR2.6 | DRIP CONNECTOR 16 mm | m | 150 |  | 0
DDR2.7 | DRIP END CUP 16mm | m | 150 |  | 0
DDR2.8 | PVC CONTROL VALVE 63 mm (BALL VALVE) | No. | 10 |  | 0
DDR2.9 | FILTRATION SYSTEM | SET | 1 |  | 0
DDR2.10 | PVC GLUE 500ML | TIN | 5 |  | 0
DDR2.11 | PVC TEE 110mm | PC | 5 |  | 0
DDR2.12 | PVC TEE 90 mm | No. | 5 |  | 0
DDR2.13 | PVC R/BUSH 110*90 mm | PC | 5 |  | 0
DDR2.14 | PVC R/BUSH 90*75 mm | PC | 5 |  | 0
DDR2.15 | PVC R/BUSH 75*63 mm | PC | 5 |  | 0
DDR2.16 | PVC ENDCAP 2" PN16 | No. | 20 |  | 0
DDR2.17 | WATER METER 63 mm | No. | 1 |  | 0
Carried to Collection |  |  |  |  | 0
DDR3 | 3 acre Button Dripper System Installation & Testing as approved by the Engineer |  |  |  | 0
DDR3.1 | BUTTON EMITTERS 16 mm | No. | 7200 |  | 0
DDR3.2 | BLACK TUBING 16mm | m | 24000 |  | 0
DDR3.3 | FILTRATION SYSTEM | SET | 1 |  | 0
DDR3.4 | PVC TEE 90 mm | PC | 6 |  | 0
DDR3.5 | PVC R/BUSH 90*75 mm | PC | 10 |  | 0
DDR3.6 | PVC R/BUSH 75*63 mm | PC | 10 |  | 0
DDR3.7 | PVC R/BUSH 63*50 mm | PC | 10 |  | 0
DDR3.8 | PVC UNION VALVE 50 mm | PC | 20 |  | 0
DDR3.9 | PVC ELBOW 50 mm | PC | 30 |  | 0
DDR3.10 | PVC GLUE 500ML (TANGIT) | PC | 24 |  | 0
DDR3.11 | PVC PIPE 50 mm | PC | 550 |  | 0
DDR3.12 | PVC ENDCAP 2" PN16 | PC | 10 |  | 0
DDR3.13 | WATER METER 63 mm | PC | 1 |  | 0
Carried to Collection |  |  |  |  | 0
BILL NO. 7 - DRIP IRRIGATION EQUIPMENT
0
0
0
Carried to Summary |  |  |  |  | 0

## Bill 8 - Sprinkler Irrigation
MINISTRY OF WATER AND ENVIRONMENT
KAWUMU PRESIDENTIAL MODEL VILLAGE IRRIGATION SYSTEM AND FACILITIES
DESCRIPTION:SPRINKLER IRRIGATION EQUIPMENT
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (UGX) | AMOUNT (UGX)
PREAMBLE
Lay and install equipment for 3 acre sprinkler system
SP1 | Excavations
SP1.1 | Excavate oversite average depth 1000mm to invert level for sub - mains and laterals as directed by the Engineer | sq. m | 12141 |  | 0
| Excavation of drains | m3 | 200 |  | 0
SP1.2 | Removal of excess material as required by the Engineer | m3 | 200 |  | 0
Carried to Collection |  |  |  |  | 0
0
SP2 | Sprinkler Irrigation System Installation & Testing as approved by the Engineer |  |  |  | 0
SP2.1 | PVC PIPE 50mm PN10 | No. | 1000 |  | 0
SP2.2 | 63*3/4" BRASS SPRINKLER ( 8-10 meters radius) | PC | 300 |  | 0
SP2.3 | FILTRATION SYSTEM | SET | 1
SP2.4 | SANDLE CLAMP 63X3/4" | PC | 300 |  | 0
SP2.5 | PVC RISER PIPE 3/4" | PC | 450 |  | 0
SP2.6 | GI SOCKET 3/4" | PC | 300 |  | 0
SP2.7 | THREAD TAPE | PC | 300 |  | 0
SP2.8 | PVC GLUE 500ML (TANGIT) | TIN | 144 |  | 0
SP2.9 | PVC COMPACT BALL VALVE 2" | PC | 90 |  | 0
SP2.10 | PVC ELBOW 63mm | PC | 360 |  | 0
SP2.11 | PVC ELBOW 90 mm | PC | 15 |  | 0
SP2.12 | PVC ELBOW 110 mm | PC | 15 |  | 0
SP2.13 | PVC UNION VALVE 63 MM | PC | 600 |  | 0
SP2.14 | PVC TEE 90 MM | PC | 60 |  | 0
SP2.15 | PVC R/BUSH 90*75 mm | PC | 60 |  | 0
SP2.16 | PVC R/BUSH 75*63 mm | PC | 60 |  | 0
SP2.17 | PVC R/BUSH 110*90 mm | PC | 6 |  | 0
SP2.18 | PVC ENDCAP 2" PN16 | PC | 60 |  | 0
SP2.19 | WATER METER 63 mm | PC | 1 |  | 0
Carried to Collection |  |  |  |  | 0
BILL NO. 8 - SPRINKLER IRRIGATION EQUIPMENT
0
0
Carried to Summary |  |  |  |  | 0

## Bill 9 - Mech & Elect 1
MINISTRY OF WATER AND ENVIRONMENT
KAWUMU PRESIDENTIAL MODEL VILLAGE IRRIGATION SYSTEM AND FACILITIES
DESCRIPTION: MECHANICAL AND ELECTRICAL WORKS
Item Nr. | Description | Unit | Quantity | Rate (USh) | Amount (USh)
Preamble:
MECHANICAL WORKS
Supply and complete installation of all items as Particular Specifications Part 2 and as directed by the Engineer
ME 1.1 | Water Pumps
ME 1.1.1 | Electric multistage centrifigual submersible borehole pumpset with motor, capacity Q = 9m3/hr at a head of 150m delivering to Water sump; complete with starter, delivery pressure gauge, pressure switch, protective controls against dry runs, and all accessories as Grundfos or equal approved | No. | 2 |  | 0
ME 1.1.2 | All accessories and sundries, bolts, nuts, washers, pipe supports, fixing material, etc. to make the pumphouse installation complete for both clear and backwash pumps sets | No. | 1 |  | 0
ME 1.1.3 | Manufacturer's recommended spares for 3 years operation of 2 No. borehole pumps including 1 No. spare motor for each pump | Set | 1 |  | 0
ME 1.2 | Chlorine Generation & Dosing Equipment
ME 1.2.1 | Supply and install a chlorine Dosing Unit (Preferably Klorman Type). Provide for Fittings for this installation at the reservoir tank site in Kawumu. | nr | 2 |  | 0
ME 1.2.2 | Supply Klorman Catridge 16"S | set | 10 |  | 0
ME 1.3 | Manholes and Pipework Ancillaries |  |  |  | 0
0
| In-situ Concrete Chambers |  |  |  | 0
0
| Concrete washout outfall structure, complete, as specified in drawings, and of the following depths |  |  |  | 0
0
ME 1.3.1 | Depth not exceeding 1.5m | No. | 1 |  | 0
0
EE 1.1 | Lighting and Small Power
EE 1.1.1 | Lighting points wired by 3 x 2.5mm2 SC PVC copper cables in 25mm heavy gauge PVC conduit surface/concealed conduit with drops concealed in walls to switch positions complete with MK steel boxes complete with all accessories. | No | 18 |  | 0
EE 1.1.2 | Socket outlet points wired by 3 x 2.5mm2 SC PVC copper cables in 25mm heavy gauge steel surface conduit complete with all accessories including boxes. | No | 8 |  | 0
EE 1.1.3 | Cast aluminium waterproof bulkhead with 70W HPS lamp and polycarbonate bowl retained by tamper resistant fixings to IP44 as Pierlite or equal approved (Light Type S) | No. | 12 |  | 0
EE 1.1.4 | T5 1x28W,1200mm, surface fluorescent luminaire for 28W T5 linear fluorescent lamps weather proof and corrosion resistant, with electronic control gear, as PIERLITE 1x28W T5 or equal approved. (Light Type F1) | No. | 8 |  | 0
EE 1.1.5 | 100A 4 way TPN MCCB wall mounted recessed Distribution Board, complete with integral isolator, MCCBs, RCCBs, and all accessories, as L & T or equal approved. | No | 4 |  | 0
EE 1.1.6 | 13A 2gang 3pin metal clad switched socket outlets complete with all accessories. | No | 8 |  | 0
EE 1.1.7 | 6A 2gang metal clad wall switch for lights complete with all accessories. | No | 8 |  | 0
EE 1.2 | Earthing and Lightning Protection
EE 1.2.1 | Copper tape of hard drawn high conductivity copper 3mm x 25mm cross section for horizontal and down conductors complete with fixing clips and all accessories as by FURSE or equal. | M | 35 |  | 0
0
|  | Carried to Collection |  |  | 0
EE 1.2.2 | Air terminals 20x1200mm complete with tape adapters, spikes and all accessories by FURSE or equal. | No. | 7 |  | 0
EE 1.2.3 | Test clamp complete as by FURSE or equal. | No. | 7 |  | 0
EE 1.2.4 | Earth Electrodes 20x1200mm made from hard drawn copper or copper weld complete with cap, earth clamp, manhole and all accessories as made by FURSE or equal. | No. | 12 |  | 0
EE 1.2.5 | General Earthing by 70mm2 stranded bare copper cable complete with all accessories. | M | 35 |  | 0
EE 1.2.6 | 50KVA Electronic stabilizer rated at 400V, 50Hz 3 phase, input voltage +/-25%, output voltage +/-5%, complete with independent phase control, input/output isolators and bypass switch and all accessories as made by Orteo of Italy or equal approved. | No. | 2 |  | 0
EE 1.2.7 | 30KVA Electronic stabilizer rated at 400V, 50Hz 3 phase, input voltage +/-25%, output voltage +/-5%, complete with independent phase control, input/output isolators and bypass switch and all accessories as made by Orteo of Italy or equal approved. | No. | 1 |  | 0
EE 1.2.8 | Motor Control Centre incorporating main circuit breaker, starter, controls and protection for pump (HIGH/LOW pressure and dry running), under and overvoltage relay and single phasing relay, power monitor, hour, volt and Amp meters, and all accessories complete as in specifications | No. | 3 |  | 0
EE 1.2.9 | Armoured cable 4corex10mm2 PVC/SWA/PVC laid in conduits to pumps complete | m | 500 |  | 0
EE 1.3 | Power Supply
EE 1.3.1 | Allow a Provisional Sum for Utility connections at 33KV, metering unit and connection from UMEME supply to pump control panel | Sum | 1 |  | 0
EE 1.3.2 | Allow for profit and overheads on above. | % |  |  | 0
EE 1.3.3 | Lockable Meter Box to UMEME approval (400x600x200mm) in 2mm MS Sheets complete with cutouts and all accessories | No. | 2 |  | 0
Solar Power Unit
EE 1.3.5 | Supply and Installation of mono crystalline PV Solar panels rated at 280pW 12 Volts DC, include: PV solar panel support structure for mounting solar panels; provide for all the required electrical accessories including inverters, circuit breaker; complete to full working condition as per specifications to the newly drilled borehole | No. | 50 |  | 0
EE 1.3.6 | Supply and install metallic support frame, cables, HDPE drop pipes, cover plates, clips, earthing protection, all accessories complete to Engineer's approval | No. | 1 |  | 0
EE 1.4 | Electrical Accessories
EE 1.4.1 | 320A TPN MCCB 4way free-standing Motor Control Centre (MCC), with 320A TPN MCCB incomer/main switch, complete with 6Nox63A TPN MCCBs, 4No Electronic Soft Starters for 33KW motors, selector circuit for duty booster pumps, Digital Universal meter, with Over-voltage/under-voltage and phase failure protection and surge protection, motor protection (HIGH/LOW Pressure and Dry running), all to IP66 protection and all accessories as made by L & T or equal approved. | Sum | 1 |  | 0
|  | Carried to Collection |  |  | 0
BILL NO. 9 - MECHANICAL AND ELECTRICAL WORKS
Summary Page
| Page 1 of 3 |  |  |  | 0
| Page 2 of 3 |  |  |  | 0
0
Carried to Summary |  |  |  |  | 0

## Bill 7 - Mech & Elect (hidden)
MINISTRY OF WATER AND ENVIRONMENT
KAWUMU PRESIDENTIAL MODEL FARM-DRIP DESIGN - WATER SUPPLY PROJECT
DESCRIPTION: MECHANICAL AND ELECTRICAL WORKS
Item Nr. | Description | Unit | Quantity | Rate (USh) | Amount (USh)
Carried to Summary |  |  |  |  | 0

## Bill 10 - Tools & Equipment
MINISTRY OF WATER AND ENVIRONMENT
KAWUMU PRESIDENTIAL MODEL VILLAGE IRRIGATION SYSTEM AND FACILITIES
DESCRIPTION: TOOLS AND EQUIPMENT
Item Nr. | Description | Unit | Quantity | Rate (USh) | Amount (USh)
Supply of all Plumbing, Miscellaneous, Chemical Tools, Equipment, and Chemicals as detailed in SPECIFICATIONS CHAPTER 3 and summarized below. Supplied Items should be to the Engineer's approval
PLUMBING TOOLS AND EQUIPMENT
PE 2.1 | Blowlamp: pump action, pressure type, approx. 0.5 litre capacity, complete with wind proof nozzle and one set of replacement parts | No. | 1 |  | 0
0
PE 2.2 | Brushes, wire type for cleaning parts, 300 mm long, 3 rows of approximately15 tufts with 25 mm long steel bristles | No. | 2 |  | 0
0
PE 2.3 | File, flat machinist's, length 250 mm, second cut | No. | 1 |  | 0
0
PE 2.4 | File, flat machinist's, length 250 mm, smooth cut | No. | 1 |  | 0
0
PE 2.5 | File, flat machinist's, length 250 mm, bastard cut | No. | 1 |  | 0
0
PE 2.6 | File, half-round machinist's, length 250 mm, smooth cut | No. | 1 |  | 0
0
PE 2.7 | File, half-round machinist's, length 250 mm, but bastard cut | No. | 1 |  | 0
0
PE 2.8 | File handles, 100 x 27 mm | No. | 2 |  | 0
0
PE 2.9 | Hammer, mechanic's, 200 & tempered forged steel head, ash or white hickory handle, polished face | No. | 1 |  | 0
0
PE 2.10 | Mattocks | No. | 2 |  | 0
0
PE 2.11 | Pliers, arc joint, minimum 5 adjustments, 240 mm long | No. | 2 |  | 0
0
PE 2.12 | Saw, Plumbers, 400 mm, fine tooth edge for cutting metal and coarse teeth for cutting wood, complete with 5No. blades | No. | 2 |  | 0
0
PE 2.13 | Screw drivers, assorted, hammer-proof, non-inflammable plastic handle | Set | 2 |  | 0
0
PE 2.14 | Shovels | No. | 2 |  | 0
0
PE 2.15 | Tape measure, Stanley type steel, metric units, 5 m | No. | 2 |  | 0
0
PE 2.16 | Tapping machine, furnished with ratchet crank for manual operation, for making tappings from DN 15 (1/2") to DN 50 (2") on mains of DN 25 (1”) to DN 100 (4”) | No. | 1 |  | 0
0
PE 2.17 | Die set with stock, for threading from DN 15 to DN 100 | No. | 1 |  | 0
0
PE 2.18 | Vice with parallel jaw 100 mm as Peddinghaus, Matador 10203, portable type, with tripod stand | No. | 1 |  | 0
0
0
MISCELLANEOUS TOOLS
0
MT 4.1 | Contractor's pick axe with point and chisel steel end, length 800 mm | No. | 2 |  | 0
0
MT 4.2 | Steel hoe, blade width 200 mm, 1.5 kg complete with good wooden handle | No. | 2 |  | 0
0
MT 4.3 | Seamless pressed tray wheelbarrow, steel frame, with pneumatic wheels, 80 litres | No. | 2 |  | 0
0
MT 4.4 | 33CC 2-Cycle Petrol-Powered engine Straight Shaft Attachment Capable String Lawn Trimmer with 17-inch cutting path (including 10No. replacement trimmer lines) | No. | 1 |  | 0
0
MT 4.5 | Steel rakes | No. | 3 |  | 0
0
| CHEMICAL EQUIPMENT AND CHEMICALS |  |  |  | 0
0
CE 5.1 | Stainless steel graduated (metric) buckets (10 litres) | No. | 2 |  | 0
0
CE 5.2 | Stainless steel scoops for scooping chemicals - 1 kg capacity | No. | 2 |  | 0
0
CE 5.3 | Food Quality Common Salt (NaCl) in 50Kg Sacks | No. | 4 |  | 0
0
0
0
0
|  |  |  | 0 | 0
0
|  |  |  | Carried to Collection | 0
BILL NO. 10 - TOOLS AND EQUIPMENT
Summary Page
| Page 1 of 3 |  |  |  | 0
| Page 2 of 3 |  |  |  | 0
|  |  |  | Carried to Summary | 0

## Bill 11 - Guard House
MINISTRY OF WATER AND ENVIRONMENT
KAWUMU PRESIDENTIAL MODEL VILLAGE IRRIGATION SYSTEM AND FACILITIES
DESCRIPTION: GUARD AND ATTENDANT HOUSE
Item Nr. | Description | Unit | Quantity | Rate (USh) | Amount (USh)
Preamble:
The works under this bill are covered under Part 2 of the Particular Specifications. The relevant drawings are the DRAWING KAW-PRES/IGS/Grd-Optr-7 series (including references made there-in to other drawings)
EARTHWORKS
Excavation for foundations
Topsoil
E310 | Strip site of top soil average depth 150mm and deposit in heaps at an appropriate place 300m away from site | m3 | 10 |  | 0
All Materials other than top soil
Excavation for foundations in all materials including rock or artificial hard material, commencing surface is the stripped ground level
E323 | Depth for Buildings 0-1.5m | m3 | 10.7 |  | 0
Excavation Ancillaries
E596 | Allow for all excavation ancillaries including trimming, preparation, and compaction of excavated surfaces, disposal of excavated material, and timber supports to all excavated surfaces | Sum | 1 |  | 0
Anti-termite Treatment
E597 | Apply approved anti-termite treatment to surfaces of hardcore blinding, sides and bottoms of foundation excavations to the manufacturer's instructions | sum | 1 |  | 0
Excavation Ancillaries
Trimming
Trimming of excavated surfaces for whole structure in the following materials
E512 | Material other than topsoil,rock,or artificial hard material inclined at an angle not exceeding 45 degrees to the horizontal | m² | 30.5 |  | 0
E513 | Rock surfaces inclined at an angle not exceeding 45 degrees to the horizontal | m² | 4.55 |  | 0
Preparation
Preparation of excavated surfaces for whole structure in the following materials
E522 | Material other than topsoil,rock,or artificial hard material inclined at an angle not exceeding 45 degrees to the horizontal | m² | 40.23 |  | 0
E523 | Rock surfaces inclined at an angle not exceeding 45 degrees to the horizontal | m² | 4.2 |  | 0
Filling
Filling to structures by methods specified and to depths as shown in the drawings with the following materials
E615 | Selected imported granular material other than topsoil, rock or artificial hard material to building area and compacted to 98% MOD AASHTO | m³ | 5.45 |  | 0
E645 | 50mm thick bed of approved imported sand blinding on top of hardcore fill well spread, levelled, rammed and consolidated to the Engineer's satisfaction | m³ | 0.79 |  | 0
E647 | 300mm thick bed of approved imported hardcore well spread, levelled, rammed and consolidated on stabilized ground to the Engineer's satisfaction | m³ | 4.75 |  | 0
|  |  |  | Carried to Collection | 0
IN-SITU CONCRETE
Provision of Concrete
Ordinary Designed Mix Concrete
Grade C20
Designed mix, grade C20 concrete, to BS 5328, with ordinary portland cement to BS 12, aggregate to BS882, for the following aggregate sizes
F141 | 10mm aggregate | m³ | 2.25 |  | 0
Grade C25
Designed mix, grade C25 concrete, to BS 5328, with ordinary portland cement to BS 12, aggregate to BS882, for the following aggregate sizes
F151 | 10mm aggregate | m³ | 3.36 |  | 0
Placing Mass Concrete
Bases, Footings and Ground Slabs
Placing mass concrete, for strip foundations, grade C20, of the following thickness
F522 | Thickness 150-300mm | m³ | 2.25 |  | 0
Placing Reinforced Concrete
Bases, Footings and Ground Slabs
Placing reinforced concrete grade C25, for floor slab and steps of the following thickness
F622 | Thickness 150-300mm | m³ | 2.85 |  | 0
Beams
Placing reinforced concrete, grade C25, for ring beam of the following cross-sectional area
F662 | Cross-sectional area 0.03 - 0.1 m2 | m³ | 0.51 |  | 0
CONCRETE ANCILLARIES
Formwork-Fair Finish
Fair Finish Plane Horizontal
Plane fair finish horizontal formwork of the following width
G214 | Width: 0.4-1.22m | m² | 1 |  | 0
Fair Finish Plane Vertical
Plane fair finish vertical formwork of the following width
G244.1 | Width: 0.4-1.22m; to floor and steps | m² | 7.8 |  | 0
G244.2 | Width: 0.4-1.22m; to sides of the ring beam | m² | 3.8 |  | 0
Reinforcement
Deformed High Yield Steel Bars
High yield square twisted or ribbed bars to BS4449 and of the following sizes
G525 | Nominal size, 6 - 16mm | kg | 364 |  | 0
Steel Fabric
High tensile steel fabric reinforcement to BS 4483, fabric reference A252, cast in concrete slab with minimum 200mm end side laps, and of the following mass
G564 | Nominal mass 4-5 kg/m² | m² | 53 |  | 0
|  |  |  | Carried to Collection | 0
Concrete Accessories
Finishing of Top Surfaces
Finishing of top surfaces by the following methods
G811 | Class U2 wood float finish to top of floor | m² | 16 |  | 0
BRICKWORK, BLOCKWORK, AND MASONRY
Dense Concrete Blockwork
Dense concrete blockwork to BS 7263, jointed with ordinary 1:5 cement mortar, hoop irons every three courses, including 1:4 cement plaster to both faces complete, as detailed in the drawings, for walls of the following thickness
U521.1 | 150 mm thick | m² | 51.2 |  | 0
U521.2 | 230 mm thick | m² | 43.9 |  | 0
Permanent Vents
Dense brickwork vents to BS 7263, jointed with ordinary 1:5 cement mortar above door and window openings, including mosquito mesh, for walls of the following thickness
U589 | 150 - 230 mm thick | m² | 1 |  | 0
PAINTING
High Gloss
Timber Surfaces
External quality weather guard paint, two coats, to the following timber surfaces; include surface preparation and undercoat
V321 | Upper surfaces of fascia board inclined at an angle not exceeding 30 degrees to the horizontal | m² | 5.4 |  | 0
Masonry
External quality weather guard paint two coats, to the following smooth concrete surfaces; include surface preparation as specified
V363 | Surfaces of walls inclined at an angle exceeding 60 degrees to the horizontal | m² | 4.5 |  | 0
Emulsion Paint
Masonry
Internal quality vinyl silk paint, two coats, to the following smooth concrete surfaces; include surface preparation as specified
V563 | Surfaces of walls inclined at an angle exceeding 60 degrees to the horizontal | m² | 46 |  | 0
|  |  |  | Carried to Collection | 0
WATER PROOFING
Damp Proofing
Rendering- Rough Cast
W511 | Apply rough cast to external wall surfaces inclined at an angle exceeding 60 degrees to the horizontal in 1:3 ordinary cement mortar to the Engineer's satisfaction | m² | 68 |  | 0
Flexible Sheeting
Flexible polyethylene sheeting, gauge 1000, or similar approved, laid with 300mm overlaps at joints, to the surface of sand blinded hardcore fill
W421.1 | Surfaces of blinding hardcore inclined at an angle not exceeding 30 degrees to the horizontal | m² | 16 |  | 0
Damp proof course of Hessian based bitumen impregnated fabric to BS 6398 bedded on 1:4 cement and sand mortar with 150mm overlaps at joints; for the following wall
W421.2 | 150 - 230 mm thick | m | 21 |  | 0
Protective Layers
Sand and cement screed of 1:3 cement sand mortar, applied to concrete floors, 25 mm thick, prepared and applied as specified, and finished with a steel float
W441 | Surfaces of floors inclined at an angle not exceeding 30 degrees to the horizontal | m² | 16 |  | 0
MISCELLANEOUS WORKS
Roofing
W-8.1 | Construct roofing, complete as in the drawings and as specified; include tie beams, purlins, rafters, struts, wall plate, fascia board and all roofing timber, gauge 26 prepainted GCI sheeting and ridges, and 112mm uPVC rain water guttering and DN 80 drainage pipes to the Engineer's satisfaction. | m2 | 27 |  | 0
W-8.2 | Supply and install expanded metal and plastered ceiling nailed to brandering made from sawn treated Cyprus or other similar grade and approved timber in roof structure; complete including 3 coats of matt emulsion paint and 600x600mm hardwood access trap door | m² | 14 |  | 0
Windows
Supply and fix the following mild steel casement windows to the Engineers' details constructed from standard steel sections primed with red oxide paint, painted with three coats of high gloss paint; complete with all necessary iron mongery, plugging and fixing to head jamb and cill
W-8.3 | Mild steel window overall size 1000 x 1100mm high complete with 4mm thick clear glass panes, and burglar proofing | nr | 1 |  | 0
|  |  |  | Carried to Collection | 0
Doors
Supply and fix the following mild steel doors to the Engineers' details constructed from 75 x 50 x 2mm hollow steel sections primed with red oxide paint, painted with three coats of high gloss paint; complete with all necessary iron mongery, 3-lever Yale locking arrangements, and accessories
W-8.4 | Single leaf solid steel door, size 900 x 2100mm; complete | nr | 2 |  | 0
Building Finishes
W-8.6 | Building finishes including, constructing 20x100mm high 1:3 cement-sand skirting, C20 concrete window cills, 700mm wide C20 concrete splash apron, complete to the specifications and as directed by the Engineer | sum | 1 |  | 0
|  |  |  | Carried to Collection | 0
BILL N0.11 - GUARD HOUSE
Summary Page
| Page 1 of 6 |  |  |  | 0
| Page 2 of 6 |  |  |  | 0
| Page 3 of 6 |  |  |  | 0
| Page 4 of 6 |  |  |  | 0
| Page 5 of 6 |  |  |  | 0
Carried to Summary |  |  |  |  | 0

## Bill 12 - Water Borne Toilet
MINISTRY OF WATER AND ENVIRONMENT
KAWUMU PRESIDENTIAL MODEL VILLAGE IRRIGATION SYSTEM AND FACILITIES
DESCRIPTION: WATERBORNE PUBLIC TOILET
Item Nr. | Description | Unit | Quantity | Rate (USh) | Amount (USh)
Preamble:
The works under this bill are covered under Part 2 of the Particular Specifications. The relevant drawings are the DRAWING KAW-PRES/IGS/WBT-8 series (including references made there-in to other drawings)
DEMOLITION AND SITE CLEARANCE
General Site Clearance
D100 | General site clearance for toilet | ha | 0.0154 | 0 | 0
0
| Trees |  |  | 0
| Cut and dispose of trees of the following girth; include removal of stump and backfilling the hole left with top soil |  |  | 0
0
D210 | Girth 500 mm-1 m | nr | 1 | 0 | 0
0
| Stumps |  |  | 0
| Remove and dispose of stumps of the following diameter; include for grabbing up the roots and backfilling the hole left with top soil |  |  | 0
0
D310 | Diameter 150-500 mm | nr | 1 | 0 | 0
0
| EARTHWORKS |  |  | 0
0
| Excavation for foundations |  |  | 0
0
| Topsoil |  |  | 0
0
E310 | Strip top soil, depth not exceeding 0.15 for toilet foundation | m³ | 23.1 | 0 | 0
0
| Ordinary Soil |  |  | 0
| Excavation for foundations in material other than topsoil,rock or artificial hard material, commencing surface is the formation level |  |  | 0
0
E322 | Depth not exceeding 0.5m | m³ | 1.4 | 0 | 0
E323 | Depth 0.5 - 1 m | m³ | 18.9 | 0 | 0
E324 | Depth 1 - 2 m | m³ | 24.5 | 0 | 0
0
| Rock |  |  | 0
0
| Excavation for foundations in rock,commencing surface is the exposed surface of the rock |  |  | 0
0
E333 | Depth 0.5-1m | m³ | 0.7 | 0 | 0
E334 | Depth 1 - 2 m | m³ | 0.7 | 0 | 0
0
|  |  |  | Carried to Collection | 0
0
| Excavation Ancillaries |  |  | 0
| Trimming |  |  | 0
0
| Trimming of excavated surfaces for whole structure in the following materials |  |  | 0
0
E512 | Material other than topsoil,rock,or artificial hard material inclined at an angle not exceeding 45 degrees to the horizontal | m² | 21.3 |  | 0
E513 | Rock surfaces inclined at an angle not exceeding 45 degrees to the horizontal | m² | 2 |  | 0
Preparation
Preparation of excavated surfaces for whole structure in the following materials
E522 | Material other than topsoil,rock,or artificial hard material inclined at an angle not exceeding 45 degrees to the horizontal | m² | 16 |  | 0
E523 | Rock surfaces inclined at an angle not exceeding 45 degrees to the horizontal | m² | 2 |  | 0
Disposal of Excavated Material
Disposal of excavated material to approved sites as directed by the Engineer
E532 | Material other than topsoil,rock,or artificial hard material | m³ | 32.55 |  | 0
E533 | Rock | m³ | 1.4 |  | 0
Filling
Structures
Filling to Structures by methods specified and to depths as shown in the drawings with the following materials
E614 | Selected excavated material other than topsoil, rock or artificial hard material | m³ | 12.25 |  | 0
E617 | Imported rock of size and grading as specified; include sand blinding on top | m³ | 4 |  | 0
Landscaping
E830 | Turfing for lawns around toilet block; include filling with excavated topsoil and the preparation of the surfaces | m² | 73.5 |  | 0
0
|  |  |  | Carried to Collection | 0
0
| IN-SITU CONCRETE |  |  | 0
| Provision of Concrete |  |  | 0
0
| Ordinary Designed Mix Concrete |  |  | 0
0
| Grade C15 |  |  | 0
0
| Designed mix, grade C15 concrete, to BS 5328, with ordinary portland cement to BS 12, aggregate to BS882, for the following aggregate sizes |  |  | 0
0
F231 | 10mm aggregate | m³ | 1.26 |  | 0
0
| Grade C20 |  |  | 0
0
| Designed mix, grade C20 concrete, to BS 5328, with ordinary portland cement to BS 12, aggregate to BS882, for the following aggregate sizes |  |  | 0
0
F251 | 10mm aggregate | m³ | 4.3 | 0 | 0
0
| Placing Mass Concrete |  |  | 0
0
| Blinding |  |  | 0
0
| Placing blinding concrete, for footings, grade C15, of the following thickness |  |  | 0
0
F511 | Thickness not exceeding 150mm | m³ | 1.26 | 0 | 0
0
| Bases, Footings and Ground Slabs |  |  | 0
0
| Placing mass concrete C20, for ground slab and ramp base of the following thickness |  |  | 0
0
F522 | Thickness 150-300mm | m³ | 1 | 0 | 0
0
| Placing Reinforced Concrete |  |  | 0
0
| Bases, Footings and Ground Slabs |  |  | 0
0
| Placing reinforced concrete C20, for footings of the following thickness |  |  | 0
0
F622 | Thickness 150-300mm | m³ | 2.8 | 0 | 0
0
| Beams |  |  | 0
| Placing reinforced concrete, grade C20, for beams of the following cross-sectional area |  |  | 0
0
F662 | Cross-sectional area 0.03 - 0.1 m2 | m³ | 0.5 | 0 | 0
0
|  |  |  | Carried to Collection | 0
0
| CONCRETE ANCILLARIES |  |  | 0
| Formwork-Fair Finish |  |  | 0
| Fair Finish Plane Horizontal |  |  | 0
0
| Plane fair finish horizontal formwork of the following width |  |  | 0
0
G214 | Width 0.4 - 1.22m | m² | 3.5 | 0 | 0
0
| Fair Finish Plane Vertical |  |  | 0
0
| Plane fair finish vertical formwork of the following width |  |  | 0
0
G244 | Width 0.4 - 1.22m | m² | 22 | 0 | 0
0
| Reinforcement |  |  | 0
| Deformed High Yield Steel |  |  | 0
High yield ribbed bars to BS 4449 and of the following sizes
G524 | Nominal size, 6-16mm | t | 0.448 |  | 0
Steel Fabric
Steel fabric reinforcement to BS4483, fabric reference A142, in concrete floor slab with minimum 200mm end side laps, and of the following mass
G563 | Nominal mass 2-3 kg/m² | m² | 16.5 |  | 0
Concrete Accessories
Finishing of top surfaces
Finishing of top surfaces by the following methods
G811 | Class U3 steel trowel finish | m² | 31 |  | 0
G812 | Wooden trowel finish | m² | 5.25 |  | 0
BRICKWORK, BLOCKWORK AND MASONRY
Burnt Clay Brickwork
Solid burnt clay brickwork to BS 3921, jointed with ordinary 1:4 cement mortar, hoop irons every three courses, and of the following thicknesses
U511.1 | 200 mm thick | m² | 64.4 |  | 0
Solid burnt clay brickwork to BS 3921, jointed with ordinary 1:4 cement mortar, hoop irons every three courses, and of the following thicknesses
U511.2 | 150 mm thick | m² | 45 |  | 0
0
|  |  |  | Carried to Collection | 0
0
Burnt clay pompei grill brickwork vents, jointed with ordinary 1:4 cement mortar, hoop irons every three courses, as detailed in the drawings of the following sizes
U511.3 | 100 mm thick | m² | 3.1 |  | 0
Damp proof course of bitumen impregnated fabric to BS 6398 for the following wall thickness
U582 | 200 mm thick | m | 36 |  | 0
PAINTING
High Gloss
Timber Surfaces
External quality weather guard paint, two coats, to the following timber surfaces; include surface preparation and undercoat as specified
V321 | Upper surfaces of fascia board inclined at an angle not exceeding 30 degrees to the horizontal | m² | 7 |  | 0
Masonry
External quality weather guard paint, two coats, to the following smooth concrete surfaces; include surface preparation and undercoat as specified
V333 | Surfaces of walls inclined at an angle exceeding 60 degrees to the horizontal | m² | 42 |  | 0
Emulsion Paint
Masonry
Internal quality vinyl silk paint, two coats, to the following smooth concrete surfaces; include surface preparation and undercoat as specified
V553 | Surfaces of walls inclined at an angle exceeding 60 degrees to the horizontal | m² | 86 |  | 0
WATER PROOFING
Damp Proofing
Rendering
W153 | Rendering of wall surfaces to walls inclined at an angle exceeding 60 degrees to the horizontal in 1:3 ordinary cement mortar finished with a wood float | m² | 48 |  | 0
Ceramic Tiles
W173 | White ceramic wall tiles to internal faces of walls | m² | 9.8 |  | 0
0
|  |  |  | Carried to Collection | 0
0
| Protective Layers |  |  | 0
0
| Flexible Sheeting |  |  | 0
0
| Flexible polyethylene sheeting, gauge 1000, or similar approved, laid to the surface of sand blinded hardcore fill |  |  | 0
0
W421 | Surfaces of blinding hardcore inclined at an angle not exceeding 30 degrees to the horizontal | m² | 16.3 | 0 | 0
0
| Terrazzo floor finish |  |  | 0
Uniform Grey terrazo, applied to concrete floors, 25 mm thick, prepared and applied as specified, and finished with grinding
W441 | 'Surfaces of floors, skirtings and splash aprons | m² | 8.5 |  | 0
MISCELLANEOUS WORKS
Structural
Windows
Supply and fix the following mild steel windows to the Engineers' details constructed from standard steel sections primed with red oxide paint, painted with three coats of high gloss paint; complete with all necessary iron mongery, stays, plugging and fixing to wall
W-9.1 | Top hung double leaf hinged windows overall size 450 x 550mm high comprising of 3mm thick mild steel panes welded on a 25x25x3mm thick angle frame and epoxy coated colour blue | nr | 7 |  | 0
Doors
Supply and fix approved solid hardwood doors with three coats of polyurethane varnish on general surfaces of door as described; 50mm two panel framed door comprising 50 x 100mm stiles, top, middle and bottom rails all grooved and with both panels filled with 30 x 100mm vertical tongued and grooved battens with rubber door stops, all iron mongery and locking arrangements of the following sizes
W-9.2 | Single leaf door overall size 800mm x 2100mm (W x H) | nr | 7 |  | 0
Supply and fix the following mild steel grill doors to the Engineers' details constructed from 75 x 50 x 2mm hollow steel sections primed with red oxide paint, painted with three coats of high gloss paint; complete with all necessary iron mongery and accessories
W-9.4 | Single leaf door overall size 1000 x 2100mm high | nr | 1 |  | 0
0
|  |  |  | Carried to Collection | 0
0
| Roofing |  |  | 0
0
W-9.5 | Construct roofing, complete as in the drawings and as specified; include tie beams, purlins, rafters, struts, wall plate, facia board, metal lathe ceiling and eaves, and all roofing timber, gauge 28 blue prepainted GCI sheeting and ridges to the Engineer's satisfaction. | m² | 21.8 | 0 | 0
0
| Building Finishes |  |  | 0
0
W-9.6 | Building finishes including; constructing 20x100mm high 1:3 cement-sand skirting, 700mm wide C20 concrete splash apron; supply and installation of 10no. toilet paper holders, installation of floor drains with associated pipework and fitting s connected to soak pit, complete to the specifications and as directed by the Engineer | sum | 1 |  | 0
Water and Drainage
W-9.7 | Supply and erect 1000 litre (1m3) high level and 500 litre low level Polyethylene tanks as Polytank, elevated from 2m up to 4m above ground level on a mild steel 80mm steel sectional painted tower or equivalent, complete with access ladders and platforms, including all PN 10 GI/PPR pipework, fittings, gate valves, ball float valve, rain water gutters to low level tank and connection to all water closets, urinal and hand washing facilities in toilet block | sum | 1 |  | 0
W-9.8 | Supply materials and install service line connection including all all PN 10 GI/PPR/HDPE plumbing pipe work, fittings and ancillaries from the distribution main to the overhead water tank | sum | 1 |  | 0
W-9.9 | Construct Urinal facility with perforated DN 20 PPR/GI water pipework, valves, fittings, floor trap, domical removable cast iron grating, gulley trap | sum | 1 |  | 0
0
0
|  |  |  | Carried to Collection | 0
0
W-9.10 | Excavate and construct standard manholes in 200mm thick blockwork, internal depth not exceeding 1.0m, bonded in concrete mortar(1:5) and rendered internally with concrete mortar (1:4), concrete benching, complete with and including CI frame and cover, and interconnecting OD 110mm pvc drain pipes to toilet block | nr | 2 |  | 0
W-9.11 | Supply and Install OD 110 mm uPVC PN 6 drainage pipework to BS 4660, complete with spigot and socket joints, all fittings; from toilet block to Septic Tank and Soak Pit | m | 6 |  | 0
W-9.12 | Excavate and construct Septic Tank of effective capacity 35m3 in blockwork and reinforced concrete, rendered smooth inside complete with inlet and outlet manholes benching, heavy duty cast iron manhole covers | Sum | 1 |  | 0 | 34
W-9.13 | Excavate and construct 1500mm top/bottom diameter x 2.0m deep soak pit complete including filling with hardcore, covering with 2 layers of gauge 1000 polyethylene sheet | nr | 1 |  | 0
W-9.14 | Supply and install squatting type low level water closet suite complete with WC pan, heavy duty cistern complete with anti-vandal cage, flush pipe, connected to nearest manhole; all to the Engineer's satisfaction | nr | 2 |  | 0
W-9.15 | Supply and install seat type low level water closet suite complete with WC pan, heavy duty cistern, flush pipe complete with anti-vandal cage, connected to nearest manhole; all to the Engineer's satisfaction | nr | 4 |  | 0
PROVISIONAL SUMS
Electrical Installation
W-9.16 | Allow for electric power connection to the toilet block including processing a customer account with UMEME | sum | 1 |  | 0
W-9.17 | Supply and install all respective electricals for building lighting; i.e. MCB, metal clad switches, lights, 3core XLPE/SWA/PVC Copper cables, concealed conduits, lights, earthing protection,etc, complete with all accessories as specified and directed by the Engineer | sum | 1 |  | 0
W-9.18 | Allow for profits and overheads on Item No.KYGB 13.2.17& KYGB 13.2.18 | % | 25% |  | 0
0
|  |  |  | Carried to Collection | 0
BILL N0.12 - WATER BORNE TOILET
Summary Page
| Page 1 of 9 |  |  |  | 0
| Page 2 of 9 |  |  |  | 0
| Page 3 of 9 |  |  |  | 0
| Page 4 of 9 |  |  |  | 0
| Page 5 of 9 |  |  |  | 0
| Page 6 of 9 |  |  |  | 0
| Page 7 of 9 |  |  |  | 0
| Page 8 of 9 |  |  |  | 0
Carried to Summary |  |  |  |  | 0

## Bill 13 - Cons Conn
MINISTRY OF WATER AND ENVIRONMENT
KAWUMU PRESIDENTIAL MODEL VILLAGE IRRIGATION SYSTEM AND FACILITIES
DESCRIPTION: WATERBORNE PUBLIC TOILET
ITEM NO. | ITEM DESCRIPTION | UNIT | QUANTITY | RATE UShs | AMOUNT Ushs
Preamble
The works under this bill are covered under Part 2 of the Particular Specifications. The relevant drawings are the DRAWING, SD 116 (including references made there-in to other drawings)
A.1 | HDPE Pipes
A1.1 | PN10 - 20mm | LM | 3500 |  | 0
A1.2 | PN10 - 25mm | LM | 3500 |  | 0
A1.3 | PN10-32mm | LM | 5000 |  | 0
A.2 | GI- Pipes |  |  |  | 0
A.2.1 | 1/2'' | LM | 1500 |  | 0
A.2.2 | 3/4" | LM | 1500 |  | 0
0
A.3 | Fittings |  |  |  | 0
0
| All fittings are HDPE to PN10 |  |  |  | 0
A.3.1 | Saddle 110 x 32mm, adaptor 32 mm | No. | 2 |  | 0
A.3.2 | Saddle 110 x 25mm, adaptor 25 mm | No. | 2 |  | 0
A.3.3 | Saddle110 x 20mm. Adaptor 20 mm | No. | 2 |  | 0
A.3.4 | Saddle 75 x 32mm, adaptor 32 mm | No. | 2 |  | 0
A.3.5 | Saddle 75 x 25mm, adaptor 25 mm | No. | 2 |  | 0
A.3.6 | Saddle 75 x 20mm. Adaptor 20 mm | No. | 2 |  | 0
A.3.7 | Saddle 50 x 32mm, adaptor 32 mm | No. | 2 |  | 0
A.3.8 | Saddle 50 x 25mm, adaptor 25 mm | No. | 2 |  | 0
A.3.9 | Saddle 50 x 20mm. Adaptor 20 mm | No. | 2 |  | 0
A.3.10 | Couplers PN6 - 32mm | No. | 2 |  | 0
A.3.11 | Couplers PN6 - 25mm | No. | 2 |  | 0
A.3.12 | Couplers PN6 - 20mm | No. | 2 |  | 0
A.3.13 | 1/2'' GI Elbows | No. | 13 |  | 0
A.3.14 | 1/2'' Nipples | No. | 13 |  | 0
A.3.15 | 1/2'' Unions | No. | 13 |  | 0
A.3.16 | 1/2'' Gate valve | No. | 13 |  | 0
A.3.17 | 1/2'' Approved Tap head | No. | 13 |  | 0
A.3.18 | 1/2'' Sockets | No. | 13 |  | 0
A.3.19 | 1/2'' M/ Adaptor | No. | 13 |  | 0
A.3.20 | 1/2" Water Meters (To be approved by the Engineer before installation) | No. | 13 |  | 0
0
A.6 | Trenching for Connections |  |  |  | 0
A.6.1 | Excavation of pipe trench (400wide and 900m deep) | LM | 12000 |  | 0
A.6.2 | Pipe laying | LM | 12000 |  | 0
A.6.3 | Backfilling of pipes | LM | 12000 |  | 0
A.6.4 | Pressure testing | LM | 12000 |  | 0
0
| Note: |  |  |  | 0
| All fittings are to be approved by the Engineer. |  |  |  | 0
0
| YARD TAPS |  |  |  | 0
0
| Connect Yard Taps fpr Domestic and institutional users. |  |  |  | 0
| This connection should include the cost of the pipe, all |  |  |  | 0
J891.1 | fittings necessary to have flow of water and cost of |  |  |  | 0
| excavation and backfilling to a minimum of 50m from the |  |  |  | 0
| mains. The connection should be as per the drawing |  |  |  | 0
| attached. | No. | 30 |  | 0
0
| Public Stand Posts |  |  |  | 0
0
| Construct a double faucet Stand Post complete as in drawing ONG/SP/1.0.0 including all earthworks, building works, concrete works, plumbing, drains and soak pit, connection to water main, all relevant fitings; galvanized iron pipe and fittings, brass stop cock, ferrule, lockable steel meter protection box, taps and domestic water meter, raising meter above ground, GI/HDPE connection, all to PN 6 (service line measured separately under items I712.7) |  |  |  | 0
0
L999 | DN 32 mm (1") | nr | 5 |  | 0
| Carried to Collection |  |  |  | 0
BILL NO. 13 - CONSUMER CONNECTIONS
Summary Page
| Page 1 of 2 |  |  |  | 0
Carried to Summary |  |  |  |  | 0